## Cr4+YAG Data
Cr4+:YAG
2011
V. Vitali and D. Brown
Instrument: Shimadzu SolidSpec-3700 DUV High-Resolution Spectrophotometer
Crystal Source: Onyx Optics, SCL #14
Crystal Length: 4.61 mm
Crystal T0 Value: 0.50
Cr4+ Doping Density: 6 x 1017 ions/cm3 = 0.0033 at-%
Sampling Interval: 0.5 nm
Slit Width: 2 nm
Scan Speed: 0.83 nm/sec
YAG Sellmeier Equation: Handbook of Optics, Vol. 2, OSA, M. Bass Ed., McGraw Hill (1995)
Wavelength (nm) | Cr4+YAG Absorption Cross Section (cm2) (x 10-18)
700 | 3.6107
700.5 | 3.5357
701 | 3.4655
701.5 | 3.4001
702 | 3.3352
702.5 | 3.2716
703 | 3.2118
703.5 | 3.1572
704 | 3.1045
704.5 | 3.0524
705 | 2.9973
705.5 | 2.953
706 | 2.9067
706.5 | 2.8555
707 | 2.8111
707.5 | 2.7705
708 | 2.7226
708.5 | 2.6811
709 | 2.6474
709.5 | 2.6096
710 | 2.5731
710.5 | 2.5416
711 | 2.5144
711.5 | 2.4853
712 | 2.4562
712.5 | 2.4295
713 | 2.4058
713.5 | 2.3786
714 | 2.3549
714.5 | 2.3379
715 | 2.3175
715.5 | 2.2958
716 | 2.2744
716.5 | 2.2572
717 | 2.2374
717.5 | 2.2183
718 | 2.2023
718.5 | 2.1878
719 | 2.17
719.5 | 2.1545
720 | 2.1413
720.5 | 2.1267
721 | 2.1112
721.5 | 2.0961
722 | 2.0817
722.5 | 2.0697
723 | 2.0551
723.5 | 2.0443
724 | 2.0351
724.5 | 2.0223
725 | 2.0157
725.5 | 2.0099
726 | 1.9991
726.5 | 1.9877
727 | 1.9793
727.5 | 1.9626
728 | 1.9506
728.5 | 1.9463
729 | 1.9413
729.5 | 1.9358
730 | 1.9315
730.5 | 1.9289
731 | 1.9169
731.5 | 1.9119
732 | 1.9103
732.5 | 1.9075
733 | 1.9027
733.5 | 1.9051
734 | 1.9003
734.5 | 1.8923
735 | 1.8891
735.5 | 1.8878
736 | 1.8861
736.5 | 1.8852
737 | 1.88
737.5 | 1.877
738 | 1.873
738.5 | 1.8634
739 | 1.8578
739.5 | 1.8621
740 | 1.8611
740.5 | 1.8583
741 | 1.8628
741.5 | 1.8604
742 | 1.8583
742.5 | 1.8605
743 | 1.862
743.5 | 1.856
744 | 1.8618
744.5 | 1.8557
745 | 1.8512
745.5 | 1.8455
746 | 1.8442
746.5 | 1.8402
747 | 1.8466
747.5 | 1.8484
748 | 1.854
748.5 | 1.8613
749 | 1.8606
749.5 | 1.8585
750 | 1.8604
750.5 | 1.857
751 | 1.8543
751.5 | 1.8567
752 | 1.86
752.5 | 1.8582
753 | 1.864
753.5 | 1.8649
754 | 1.8674
754.5 | 1.8665
755 | 1.8644
755.5 | 1.8644
756 | 1.8674
756.5 | 1.8633
757 | 1.8607
757.5 | 1.8613
758 | 1.8617
758.5 | 1.8608
759 | 1.8624
759.5 | 1.8603
760 | 1.8605
760.5 | 1.8634
761 | 1.864
761.5 | 1.8602
762 | 1.8612
762.5 | 1.8621
763 | 1.8584
763.5 | 1.8565
764 | 1.8643
764.5 | 1.8665
765 | 1.866
765.5 | 1.8619
766 | 1.8592
766.5 | 1.852
767 | 1.8526
767.5 | 1.85
768 | 1.8558
768.5 | 1.8606
769 | 1.8644
769.5 | 1.8624
770 | 1.8629
770.5 | 1.8608
771 | 1.8611
771.5 | 1.8576
772 | 1.863
772.5 | 1.863
773 | 1.8594
773.5 | 1.8549
774 | 1.8617
774.5 | 1.8565
775 | 1.8637
775.5 | 1.8669
776 | 1.8731
776.5 | 1.8729
777 | 1.8785
777.5 | 1.877
778 | 1.8816
778.5 | 1.8832
779 | 1.8853
779.5 | 1.8896
780 | 1.8946
780.5 | 1.9009
781 | 1.9078
781.5 | 1.9141
782 | 1.92
782.5 | 1.9245
783 | 1.9292
783.5 | 1.9361
784 | 1.9384
784.5 | 1.9384
785 | 1.9468
785.5 | 1.9451
786 | 1.9451
786.5 | 1.9473
787 | 1.952
787.5 | 1.9521
788 | 1.9585
788.5 | 1.9599
789 | 1.9602
789.5 | 1.9669
790 | 1.9703
790.5 | 1.9703
791 | 1.9719
791.5 | 1.9838
792 | 1.9903
792.5 | 1.999
793 | 2.0066
793.5 | 2.0129
794 | 2.0147
794.5 | 2.0199
795 | 2.02
795.5 | 2.0257
796 | 2.0328
796.5 | 2.0422
797 | 2.0475
797.5 | 2.0563
798 | 2.065
798.5 | 2.0741
799 | 2.0806
799.5 | 2.0873
800 | 2.0952
800.5 | 2.1058
801 | 2.1069
801.5 | 2.1138
802 | 2.1147
802.5 | 2.1225
803 | 2.1268
803.5 | 2.1463
804 | 2.1593
804.5 | 2.1739
805 | 2.185
805.5 | 2.1948
806 | 2.1983
806.5 | 2.1995
807 | 2.2091
807.5 | 2.2136
808 | 2.2221
808.5 | 2.2275
809 | 2.2384
809.5 | 2.2434
810 | 2.2571
810.5 | 2.2677
811 | 2.2798
811.5 | 2.2903
812 | 2.306
812.5 | 2.3082
813 | 2.3113
813.5 | 2.3161
814 | 2.3268
814.5 | 2.3286
815 | 2.3397
815.5 | 2.3539
816 | 2.3686
816.5 | 2.3787
817 | 2.3959
817.5 | 2.4035
818 | 2.4081
818.5 | 2.4188
819 | 2.4245
819.5 | 2.4318
820 | 2.4476
820.5 | 2.4613
821 | 2.4668
821.5 | 2.4771
822 | 2.4884
822.5 | 2.4921
823 | 2.5025
823.5 | 2.5158
824 | 2.5284
824.5 | 2.5309
825 | 2.5402
825.5 | 2.5509
826 | 2.565
826.5 | 2.5774
827 | 2.5954
827.5 | 2.6103
828 | 2.6172
828.5 | 2.6277
829 | 2.6342
829.5 | 2.6457
830 | 2.6566
830.5 | 2.6701
831 | 2.6775
831.5 | 2.6895
832 | 2.6928
832.5 | 2.7013
833 | 2.7104
833.5 | 2.7167
834 | 2.7232
834.5 | 2.7323
835 | 2.7524
835.5 | 2.7637
836 | 2.7824
836.5 | 2.7995
837 | 2.8142
837.5 | 2.8182
838 | 2.8276
838.5 | 2.8347
839 | 2.8387
839.5 | 2.8504
840 | 2.8605
840.5 | 2.8802
841 | 2.8914
841.5 | 2.9119
842 | 2.9189
842.5 | 2.9284
843 | 2.9333
843.5 | 2.9408
844 | 2.9505
844.5 | 2.96
845 | 2.9779
845.5 | 2.9882
846 | 3.005
846.5 | 3.0113
847 | 3.0278
847.5 | 3.0381
848 | 3.051
848.5 | 3.0596
849 | 3.0712
849.5 | 3.0803
850 | 3.0817
850.5 | 3.0927
851 | 3.1129
851.5 | 3.1144
852 | 3.1258
852.5 | 3.1426
853 | 3.1432
853.5 | 3.1543
854 | 3.1605
854.5 | 3.1768
855 | 3.1975
855.5 | 3.2154
856 | 3.2419
856.5 | 3.2715
857 | 3.2858
857.5 | 3.302
858 | 3.3269
858.5 | 3.339
859 | 3.3385
859.5 | 3.3508
860 | 3.3505
860.5 | 3.3688
861 | 3.3742
861.5 | 3.3928
862 | 3.427
862.5 | 3.4388
863 | 3.4582
863.5 | 3.4816
864 | 3.4872
864.5 | 3.4992
865 | 3.5073
865.5 | 3.5278
866 | 3.5469
866.5 | 3.546
867 | 3.5551
867.5 | 3.5674
868 | 3.5549
868.5 | 3.5776
869 | 3.5874
869.5 | 3.6168
870 | 3.6306
870.5 | 3.6454
871 | 3.6643
871.5 | 3.6778
872 | 3.7028
872.5 | 3.7325
873 | 3.7448
873.5 | 3.7749
874 | 3.775
874.5 | 3.7884
875 | 3.7902
875.5 | 3.8108
876 | 3.8273
876.5 | 3.8376
877 | 3.8572
877.5 | 3.8692
878 | 3.8763
878.5 | 3.9121
879 | 3.9219
879.5 | 3.9445
880 | 3.9605
880.5 | 3.9706
881 | 3.9673
881.5 | 3.9904
882 | 4.0136
882.5 | 4.0433
883 | 4.0523
883.5 | 4.0653
884 | 4.0765
884.5 | 4.089
885 | 4.1072
885.5 | 4.1306
886 | 4.1386
886.5 | 4.1492
887 | 4.1506
887.5 | 4.162
888 | 4.1821
888.5 | 4.1989
889 | 4.2027
889.5 | 4.2089
890 | 4.2322
890.5 | 4.2286
891 | 4.2361
891.5 | 4.25
892 | 4.2581
892.5 | 4.2731
893 | 4.2781
893.5 | 4.2974
894 | 4.3096
894.5 | 4.315
895 | 4.329
895.5 | 4.3425
896 | 4.3519
896.5 | 4.3575
897 | 4.3564
897.5 | 4.3575
898 | 4.3531
898.5 | 4.3572
899 | 4.3629
899.5 | 4.3869
900 | 4.3951
900.5 | 4.4107
901 | 4.415
901.5 | 4.4177
902 | 4.4464
902.5 | 4.4655
903 | 4.4849
903.5 | 4.4904
904 | 4.4885
904.5 | 4.4848
905 | 4.4892
905.5 | 4.5096
906 | 4.5148
906.5 | 4.513
907 | 4.5168
907.5 | 4.52
908 | 4.5382
908.5 | 4.5436
909 | 4.5645
909.5 | 4.5624
910 | 4.5508
910.5 | 4.5647
911 | 4.5661
911.5 | 4.5718
912 | 4.5687
912.5 | 4.5725
913 | 4.5805
913.5 | 4.5925
914 | 4.5933
914.5 | 4.5975
915 | 4.5982
915.5 | 4.6004
916 | 4.6045
916.5 | 4.6091
917 | 4.608
917.5 | 4.6109
918 | 4.593
918.5 | 4.5922
919 | 4.594
919.5 | 4.5985
920 | 4.5958
920.5 | 4.5801
921 | 4.5901
921.5 | 4.5854
922 | 4.5801
922.5 | 4.5835
923 | 4.5931
923.5 | 4.5994
924 | 4.6146
924.5 | 4.6287
925 | 4.6381
925.5 | 4.6287
926 | 4.632
926.5 | 4.6483
927 | 4.6508
927.5 | 4.6549
928 | 4.6461
928.5 | 4.6355
929 | 4.6368
929.5 | 4.6363
930 | 4.6442
930.5 | 4.6447
931 | 4.6372
931.5 | 4.6352
932 | 4.6316
932.5 | 4.6368
933 | 4.6247
933.5 | 4.6291
934 | 4.6418
934.5 | 4.636
935 | 4.6459
935.5 | 4.6491
936 | 4.6524
936.5 | 4.6593
937 | 4.6633
937.5 | 4.6793
938 | 4.6707
938.5 | 4.6732
939 | 4.6846
939.5 | 4.6851
940 | 4.703
940.5 | 4.715
941 | 4.711
941.5 | 4.7271
942 | 4.7299
942.5 | 4.7425
943 | 4.7457
943.5 | 4.7611
944 | 4.7619
944.5 | 4.7516
945 | 4.7555
945.5 | 4.7476
946 | 4.7476
946.5 | 4.7451
947 | 4.7432
947.5 | 4.7438
948 | 4.7421
948.5 | 4.7417
949 | 4.7419
949.5 | 4.743
950 | 4.7682
950.5 | 4.7792
951 | 4.7852
951.5 | 4.7965
952 | 4.7963
952.5 | 4.8
953 | 4.8068
953.5 | 4.8404
954 | 4.8373
954.5 | 4.8473
955 | 4.8463
955.5 | 4.8575
956 | 4.8656
956.5 | 4.8906
957 | 4.8949
957.5 | 4.9147
958 | 4.9056
958.5 | 4.9287
959 | 4.9288
959.5 | 4.9298
960 | 4.94
960.5 | 4.946
961 | 4.9461
961.5 | 4.9626
962 | 4.9658
962.5 | 4.9697
963 | 4.9804
963.5 | 4.9971
964 | 5.0093
964.5 | 5.0213
965 | 5.0313
965.5 | 5.0494
966 | 5.0354
966.5 | 5.0502
967 | 5.0652
967.5 | 5.0682
968 | 5.0853
968.5 | 5.0993
969 | 5.1058
969.5 | 5.1116
970 | 5.1113
970.5 | 5.1409
971 | 5.1397
971.5 | 5.1371
972 | 5.1432
972.5 | 5.1387
973 | 5.1492
973.5 | 5.1577
974 | 5.1638
974.5 | 5.1605
975 | 5.1621
975.5 | 5.182
976 | 5.1852
976.5 | 5.2047
977 | 5.2053
977.5 | 5.209
978 | 5.2209
978.5 | 5.244
979 | 5.2616
979.5 | 5.2815
980 | 5.2729
980.5 | 5.283
981 | 5.2745
981.5 | 5.2895
982 | 5.2977
982.5 | 5.2989
983 | 5.3026
983.5 | 5.3183
984 | 5.3125
984.5 | 5.3349
985 | 5.3358
985.5 | 5.3488
986 | 5.3601
986.5 | 5.3799
987 | 5.3936
987.5 | 5.3897
988 | 5.3897
988.5 | 5.4045
989 | 5.4193
989.5 | 5.4554
990 | 5.4711
990.5 | 5.4788
991 | 5.4779
991.5 | 5.4914
992 | 5.5119
992.5 | 5.5388
993 | 5.5621
993.5 | 5.5618
994 | 5.5668
994.5 | 5.5795
995 | 5.589
995.5 | 5.6079
996 | 5.6141
996.5 | 5.6121
997 | 5.6184
997.5 | 5.6282
998 | 5.6418
998.5 | 5.6436
999 | 5.6554
999.5 | 5.673
1000 | 5.6785
1000.5 | 5.7
1001 | 5.7423
1001.5 | 5.757
1002 | 5.7704
1002.5 | 5.791
1003 | 5.8158
1003.5 | 5.8217
1004 | 5.8332
1004.5 | 5.8557
1005 | 5.8557
1005.5 | 5.8405
1006 | 5.846
1006.5 | 5.8349
1007 | 5.8372
1007.5 | 5.8488
1008 | 5.8731
1008.5 | 5.892
1009 | 5.9072
1009.5 | 5.9371
1010 | 5.9723
1010.5 | 6.0024
1011 | 6.05
1011.5 | 6.0749
1012 | 6.0876
1012.5 | 6.1156
1013 | 6.1519
1013.5 | 6.1714
1014 | 6.1868
1014.5 | 6.2034
1015 | 6.2146
1015.5 | 6.2297
1016 | 6.2514
1016.5 | 6.2772
1017 | 6.2803
1017.5 | 6.2738
1018 | 6.2657
1018.5 | 6.2836
1019 | 6.2842
1019.5 | 6.2849
1020 | 6.2785
1020.5 | 6.2834
1021 | 6.2811
1021.5 | 6.2782
1022 | 6.2764
1022.5 | 6.2998
1023 | 6.2919
1023.5 | 6.3008
1024 | 6.3019
1024.5 | 6.303
1025 | 6.2979
1025.5 | 6.3074
1026 | 6.3033
1026.5 | 6.2947
1027 | 6.2831
1027.5 | 6.2616
1028 | 6.2516
1028.5 | 6.2358
1029 | 6.233
1029.5 | 6.2259
1030 | 6.2011
1030.5 | 6.2007
1031 | 6.2063
1031.5 | 6.1934
1032 | 6.2028
1032.5 | 6.2013
1033 | 6.2093
1033.5 | 6.2055
1034 | 6.2116
1034.5 | 6.2187
1035 | 6.2161
1035.5 | 6.2174
1036 | 6.2434
1036.5 | 6.2579
1037 | 6.2599
1037.5 | 6.2592
1038 | 6.2779
1038.5 | 6.2759
1039 | 6.2634
1039.5 | 6.2722
1040 | 6.2808
1040.5 | 6.2638
1041 | 6.2574
1041.5 | 6.248
1042 | 6.252
1042.5 | 6.2442
1043 | 6.2376
1043.5 | 6.2591
1044 | 6.2333
1044.5 | 6.2179
1045 | 6.2166
1045.5 | 6.2145
1046 | 6.2232
1046.5 | 6.2274
1047 | 6.204
1047.5 | 6.1904
1048 | 6.1785
1048.5 | 6.1969
1049 | 6.1934
1049.5 | 6.1859
1050 | 6.1626
1050.5 | 6.147
1051 | 6.1185
1051.5 | 6.1059
1052 | 6.092
1052.5 | 6.0572
1053 | 6.0401
1053.5 | 6.0371
1054 | 6.0142
1054.5 | 6.0003
1055 | 5.9731
1055.5 | 5.9437
1056 | 5.9226
1056.5 | 5.9072
1057 | 5.8962
1057.5 | 5.8715
1058 | 5.8269
1058.5 | 5.7966
1059 | 5.7834
1059.5 | 5.7638
1060 | 5.7371
1060.5 | 5.7053
1061 | 5.6765
1061.5 | 5.6649
1062 | 5.6364
1062.5 | 5.6211
1063 | 5.6003
1063.5 | 5.566
1064 | 5.5408
1064.5 | 5.528
1065 | 5.5059
1065.5 | 5.4856
1066 | 5.4427
1066.5 | 5.4151
1067 | 5.3841
1067.5 | 5.3584
1068 | 5.3354
1068.5 | 5.3064
1069 | 5.2836
1069.5 | 5.2624
1070 | 5.2322
1070.5 | 5.1961
1071 | 5.159
1071.5 | 5.1302
1072 | 5.09
1072.5 | 5.0599
1073 | 5.032
1073.5 | 4.9934
1074 | 4.9639
1074.5 | 4.9327
1075 | 4.925
1075.5 | 4.9028
1076 | 4.8818
1076.5 | 4.8531
1077 | 4.8181
1077.5 | 4.7892
1078 | 4.7752
1078.5 | 4.7539
1079 | 4.7324
1079.5 | 4.7011
1080 | 4.6714
1080.5 | 4.6451
1081 | 4.6387
1081.5 | 4.6084
1082 | 4.5818
1082.5 | 4.537
1083 | 4.5019
1083.5 | 4.4805
1084 | 4.4587
1084.5 | 4.4181
1085 | 4.3843
1085.5 | 4.3453
1086 | 4.3147
1086.5 | 4.2932
1087 | 4.287
1087.5 | 4.2577
1088 | 4.225
1088.5 | 4.1847
1089 | 4.1783
1089.5 | 4.1558
1090 | 4.1263
1090.5 | 4.1085
1091 | 4.0847
1091.5 | 4.0497
1092 | 4.0267
1092.5 | 3.9938
1093 | 3.9742
1093.5 | 3.9384
1094 | 3.8991
1094.5 | 3.8771
1095 | 3.8512
1095.5 | 3.8154
1096 | 3.7903
1096.5 | 3.76
1097 | 3.7452
1097.5 | 3.7261
1098 | 3.7091
1098.5 | 3.6903
1099 | 3.6735
1099.5 | 3.6555
1100 | 3.64
1100.5 | 3.6242
1101 | 3.6131
1101.5 | 3.5892
1102 | 3.5637
1102.5 | 3.5509
1103 | 3.5525
1103.5 | 3.5422
1104 | 3.5335
1104.5 | 3.5323
1105 | 3.5288
1105.5 | 3.5191
1106 | 3.5179
1106.5 | 3.5221
1107 | 3.5242
1107.5 | 3.5208
1108 | 3.5273
1108.5 | 3.5382
1109 | 3.5491
1109.5 | 3.5632
1110 | 3.5775
1110.5 | 3.6004
1111 | 3.6109
1111.5 | 3.6259
1112 | 3.6423
1112.5 | 3.6468
1113 | 3.6652
1113.5 | 3.6762
1114 | 3.6836
1114.5 | 3.7078
1115 | 3.7024
1115.5 | 3.7095
1116 | 3.7283
1116.5 | 3.7447
1117 | 3.7569
1117.5 | 3.7482
1118 | 3.7475
1118.5 | 3.7522
1119 | 3.7527
1119.5 | 3.7689
1120 | 3.7783
1120.5 | 3.7704
1121 | 3.7598
1121.5 | 3.7558
1122 | 3.755
1122.5 | 3.7461
1123 | 3.7314
1123.5 | 3.718
1124 | 3.711
1124.5 | 3.6868
1125 | 3.6587
1125.5 | 3.6298
1126 | 3.6043
1126.5 | 3.5691
1127 | 3.5362
1127.5 | 3.4955
1128 | 3.438
1128.5 | 3.3857
1129 | 3.3475
1129.5 | 3.3096
1130 | 3.2666
1130.5 | 3.2231
1131 | 3.1783
1131.5 | 3.1304
1132 | 3.0779
1132.5 | 3.0458
1133 | 3.0021
1133.5 | 2.9551
1134 | 2.9039
1134.5 | 2.8632
1135 | 2.8164
1135.5 | 2.7786
1136 | 2.7421
1136.5 | 2.7067
1137 | 2.6649
1137.5 | 2.6233
1138 | 2.5843
1138.5 | 2.5477
1139 | 2.5084
1139.5 | 2.4673
1140 | 2.4346
1140.5 | 2.3999
1141 | 2.3737
1141.5 | 2.3363
1142 | 2.3073
1142.5 | 2.2807
1143 | 2.2402
1143.5 | 2.2066
1144 | 2.1754
1144.5 | 2.1332
1145 | 2.108
1145.5 | 2.0745
1146 | 2.0503
1146.5 | 2.0141
1147 | 1.9784
1147.5 | 1.9636
1148 | 1.9342
1148.5 | 1.9256
1149 | 1.8989
1149.5 | 1.8579
1150 | 1.8349
1150.5 | 1.7878
1151 | 1.7655
1151.5 | 1.747
1152 | 1.7105
1152.5 | 1.6966
1153 | 1.6744
1153.5 | 1.6431
1154 | 1.6285
1154.5 | 1.602
1155 | 1.6002
1155.5 | 1.5838
1156 | 1.5623
1156.5 | 1.5481
1157 | 1.5237
1157.5 | 1.4676
1158 | 1.4564
1158.5 | 1.4376
1159 | 1.4268
1159.5 | 1.4124
1160 | 1.3938
1160.5 | 1.3814
1161 | 1.3822
1161.5 | 1.3776
1162 | 1.38
1162.5 | 1.3725
1163 | 1.3494
1163.5 | 1.3347
1164 | 1.3244
1164.5 | 1.301
1165 | 1.2714
1165.5 | 1.2469
1166 | 1.22
1166.5 | 1.218
1167 | 1.2083
1167.5 | 1.1996
1168 | 1.176
1168.5 | 1.1556
1169 | 1.1591
1169.5 | 1.1565
1170 | 1.1429
1170.5 | 1.1354
1171 | 1.1177
1171.5 | 1.1022
1172 | 1.092
1172.5 | 1.0832
1173 | 1.0736
1173.5 | 1.0458
1174 | 1.0412
1174.5 | 1.0221
1175 | 1.0037
1175.5 | 0.98829
1176 | 0.98419
1176.5 | 0.97424
1177 | 0.96708
1177.5 | 0.96367
1178 | 0.96514
1178.5 | 0.94879
1179 | 0.94562
1179.5 | 0.94618
1180 | 0.94245
1180.5 | 0.92536
1181 | 0.91797
1181.5 | 0.9067
1182 | 0.88971
1182.5 | 0.86877
1183 | 0.86299
1183.5 | 0.85384
1184 | 0.83978
1184.5 | 0.8253
1185 | 0.81618
1185.5 | 0.80342
1186 | 0.7912
1186.5 | 0.79083
1187 | 0.79585
1187.5 | 0.78692
1188 | 0.77906
1188.5 | 0.76946
1189 | 0.76934
1189.5 | 0.77423
1190 | 0.77505
1190.5 | 0.77695
1191 | 0.76691
1191.5 | 0.75788
1192 | 0.75106
1192.5 | 0.74805
1193 | 0.73835
1193.5 | 0.73356
1194 | 0.72419
1194.5 | 0.70615
1195 | 0.7014
1195.5 | 0.69216
1196 | 0.68287
1196.5 | 0.67182
1197 | 0.66715
1197.5 | 0.66509
1198 | 0.65617
1198.5 | 0.63105
1199 | 0.62891
1199.5 | 0.61974
1200 | 0.61389
1200.5 | 0.60221
1201 | 0.60895
1201.5 | 0.59327
1202 | 0.58455
1202.5 | 0.57787
1203 | 0.58166
1203.5 | 0.5767
1204 | 0.56361
1204.5 | 0.55845
1205 | 0.56761
1205.5 | 0.54991
1206 | 0.55936
1206.5 | 0.56256
1207 | 0.56203
1207.5 | 0.56027
1208 | 0.56348
1208.5 | 0.56791
1209 | 0.55893
1209.5 | 0.54822
1210 | 0.54926
1210.5 | 0.53507
1211 | 0.528
1211.5 | 0.52266
1212 | 0.51707
1212.5 | 0.50116
1213 | 0.49822
1213.5 | 0.49982
1214 | 0.49201
1214.5 | 0.48919
1215 | 0.49422
1215.5 | 0.48401
1216 | 0.46958
1216.5 | 0.46713
1217 | 0.46236
1217.5 | 0.45365
1218 | 0.44664
1218.5 | 0.44448
1219 | 0.43634
1219.5 | 0.42844
1220 | 0.4378
1220.5 | 0.43486
1221 | 0.43563
1221.5 | 0.4396
1222 | 0.43936
1222.5 | 0.43924
1223 | 0.44449
1223.5 | 0.45363
1224 | 0.45022
1224.5 | 0.43333
1225 | 0.43687
1225.5 | 0.43904
1226 | 0.43732
1226.5 | 0.43311
1227 | 0.4406
1227.5 | 0.43111
1228 | 0.41909
1228.5 | 0.41767
1229 | 0.42004
1229.5 | 0.41673
1230 | 0.41409
1230.5 | 0.41565
1231 | 0.40898
1231.5 | 0.39553
1232 | 0.39297
1232.5 | 0.39042
1233 | 0.39246
1233.5 | 0.39821
1234 | 0.4082
1234.5 | 0.40786
1235 | 0.41129
1235.5 | 0.41709
1236 | 0.41744
1236.5 | 0.41118
1237 | 0.41039
1237.5 | 0.3949
1238 | 0.38662
1238.5 | 0.38356
1239 | 0.36711
1239.5 | 0.35829
1240 | 0.36239
1240.5 | 0.36289
1241 | 0.37189
1241.5 | 0.38307
1242 | 0.39512
1242.5 | 0.39134
1243 | 0.38574
1243.5 | 0.38451
1244 | 0.38051
1244.5 | 0.36885
1245 | 0.36128
1245.5 | 0.35654
1246 | 0.3483
1246.5 | 0.3486
1247 | 0.34505
1247.5 | 0.33064
1248 | 0.33679
1248.5 | 0.34022
1249 | 0.34684
1249.5 | 0.35147
1250 | 0.35201
1250.5 | 0.34976
1251 | 0.33655
1251.5 | 0.34675
1252 | 0.35346
1252.5 | 0.3542
1253 | 0.34992
1253.5 | 0.34267
1254 | 0.33385
1254.5 | 0.33554
1255 | 0.3344
1255.5 | 0.33755
1256 | 0.32359
1256.5 | 0.32711
1257 | 0.32419
1257.5 | 0.32821
1258 | 0.32746
1258.5 | 0.32882
1259 | 0.31947
1259.5 | 0.31473
1260 | 0.31356
1260.5 | 0.32062
1261 | 0.31031
1261.5 | 0.30731
1262 | 0.29471
1262.5 | 0.30096
1263 | 0.29846
1263.5 | 0.30309
1264 | 0.29875
1264.5 | 0.299
1265 | 0.29227
1265.5 | 0.29956
1266 | 0.30567
1266.5 | 0.30869
1267 | 0.29994
1267.5 | 0.30151
1268 | 0.30189
1268.5 | 0.30406
1269 | 0.29805
1269.5 | 0.30188
1270 | 0.28735
1270.5 | 0.2758
1271 | 0.27359
1271.5 | 0.27953
1272 | 0.27888
1272.5 | 0.27304
1273 | 0.27014
1273.5 | 0.26841
1274 | 0.26867
1274.5 | 0.27398
1275 | 0.27626
1275.5 | 0.27512
1276 | 0.25912
1276.5 | 0.26177
1277 | 0.26206
1277.5 | 0.25614
1278 | 0.25612
1278.5 | 0.24572
1279 | 0.23144
1279.5 | 0.22684
1280 | 0.21838
1280.5 | 0.21633
1281 | 0.20154
1281.5 | 0.19645
1282 | 0.19921
1282.5 | 0.19922
1283 | 0.20108
1283.5 | 0.22049
1284 | 0.2244
1284.5 | 0.22546
1285 | 0.22211
1285.5 | 0.22548
1286 | 0.22636
1286.5 | 0.22749
1287 | 0.22312
1287.5 | 0.21731
1288 | 0.21711
1288.5 | 0.22333
1289 | 0.22613
1289.5 | 0.23415
1290 | 0.23483
1290.5 | 0.2303
1291 | 0.22513
1291.5 | 0.22498
1292 | 0.22656
1292.5 | 0.21906
1293 | 0.20268
1293.5 | 0.20489
1294 | 0.20178
1294.5 | 0.19367
1295 | 0.19623
1295.5 | 0.194
1296 | 0.19752
1296.5 | 0.19433
1297 | 0.19537
1297.5 | 0.20041
1298 | 0.18799
1298.5 | 0.17977
1299 | 0.18827
1299.5 | 0.18364
1300 | 0.18866
1300.5 | 0.1867
1301 | 0.19054
1301.5 | 0.18461
1302 | 0.17459
1302.5 | 0.17237
1303 | 0.1706
1303.5 | 0.16426
1304 | 0.15819
1304.5 | 0.14913
1305 | 0.14903
1305.5 | 0.14934
1306 | 0.15205
1306.5 | 0.15519
1307 | 0.15952
1307.5 | 0.17222
1308 | 0.17479
1308.5 | 0.1729
1309 | 0.16889
1309.5 | 0.15615
1310 | 0.154
1310.5 | 0.15435
1311 | 0.15447
1311.5 | 0.16618
1312 | 0.16188
1312.5 | 0.15943
1313 | 0.17039
1313.5 | 0.17238
1314 | 0.18021
1314.5 | 0.17809
1315 | 0.17228
1315.5 | 0.17105
1316 | 0.16061
1316.5 | 0.15959
1317 | 0.164
1317.5 | 0.15956
1318 | 0.15295
1318.5 | 0.13452
1319 | 0.12727
1319.5 | 0.12991
1320 | 0.13714
1320.5 | 0.1388
1321 | 0.13683
1321.5 | 0.13324
1322 | 0.12795
1322.5 | 0.12509
1323 | 0.14315
1323.5 | 0.14601
1324 | 0.14087
1324.5 | 0.14134
1325 | 0.1452
1325.5 | 0.14376
1326 | 0.13828
1326.5 | 0.13617
1327 | 0.13618
1327.5 | 0.12791
1328 | 0.13683
1328.5 | 0.14083
1329 | 0.13664
1329.5 | 0.11006
1330 | 0.11529
1330.5 | 0.11537
1331 | 0.11966
1331.5 | 0.12513
1332 | 0.11669
1332.5 | 0.1003
1333 | 0.10108
1333.5 | 0.093759
1334 | 0.11568
1334.5 | 0.10757
1335 | 0.10479
1335.5 | 0.10492
1336 | 0.10987
1336.5 | 0.11734
1337 | 0.12289
1337.5 | 0.12462
1338 | 0.12454
1338.5 | 0.1218
1339 | 0.13017
1339.5 | 0.13594
1340 | 0.13984
1340.5 | 0.13964
1341 | 0.14221
1341.5 | 0.13874
1342 | 0.13098
1342.5 | 0.13042
1343 | 0.13779
1343.5 | 0.13545
1344 | 0.14262
1344.5 | 0.13534
1345 | 0.14109
1345.5 | 0.14211
1346 | 0.1427
1346.5 | 0.14525
1347 | 0.14757
1347.5 | 0.13088
1348 | 0.12763
1348.5 | 0.12618
1349 | 0.11948
1349.5 | 0.11579
1350 | 0.11703
1350.5 | 0.11241
1351 | 0.10875
1351.5 | 0.1031
1352 | 0.1145
1352.5 | 0.11605
1353 | 0.12312
1353.5 | 0.11949
1354 | 0.11437
1354.5 | 0.11537
1355 | 0.13007
1355.5 | 0.13416
1356 | 0.13839
1356.5 | 0.13732
1357 | 0.12128
1357.5 | 0.11255
1358 | 0.11703
1358.5 | 0.11178
1359 | 0.1121
1359.5 | 0.11423
1360 | 0.10851
1360.5 | 0.10927
1361 | 0.11361
1361.5 | 0.12746
1362 | 0.11963
1362.5 | 0.12597
1363 | 0.127
1363.5 | 0.12486
1364 | 0.11828
1364.5 | 0.12586
1365 | 0.11519
1365.5 | 0.10508
1366 | 0.097462
1366.5 | 0.10242
1367 | 0.096354
1367.5 | 0.099733
1368 | 0.087343
1368.5 | 0.078737
1369 | 0.068738
1369.5 | 0.070678
1370 | 0.067648
1370.5 | 0.073591
1371 | 0.076469
1371.5 | 0.081305
1372 | 0.089076
1372.5 | 0.099244
1373 | 0.097355
1373.5 | 0.10105
1374 | 0.10513
1374.5 | 0.1064
1375 | 0.10023
1375.5 | 0.094229
1376 | 0.093617
1376.5 | 0.086254
1377 | 0.090346
1377.5 | 0.095314
1378 | 0.095361
1378.5 | 0.098202
1379 | 0.10242
1379.5 | 0.10485
1380 | 0.093516
1380.5 | 0.095088
1381 | 0.088059
1381.5 | 0.081027
1382 | 0.084028
1382.5 | 0.083517
1383 | 0.074689
1383.5 | 0.07521
1384 | 0.076718
1384.5 | 0.097788
1385 | 0.095138
1385.5 | 0.10238
1386 | 0.10346
1386.5 | 0.11878
1387 | 0.11684
1387.5 | 0.11496
1388 | 0.10488
1388.5 | 0.10619
1389 | 0.0927
1389.5 | 0.091222
1390 | 0.091031
1390.5 | 0.097193
1391 | 0.084213
1391.5 | 0.081758
1392 | 0.088747
1392.5 | 0.099919
1393 | 0.092815
1393.5 | 0.095978
1394 | 0.10092
1394.5 | 0.095044
1395 | 0.088374
1395.5 | 0.088096
1396 | 0.091329
1396.5 | 0.089873
1397 | 0.094788
1397.5 | 0.098869
1398 | 0.089265
1398.5 | 0.085285
1399 | 0.090401
1399.5 | 0.10088
1400 | 0.095477
1400.5 | 0.099788
1401 | 0.098824
1401.5 | 0.089575
1402 | 0.084765
1402.5 | 0.091041
1403 | 0.089165
1403.5 | 0.084512
1404 | 0.072554
1404.5 | 0.076129
1405 | 0.068173
1405.5 | 0.065352
1406 | 0.073925
1406.5 | 0.075639
1407 | 0.068376
1407.5 | 0.067296
1408 | 0.06251
1408.5 | 0.060848
1409 | 0.07246
1409.5 | 0.082303
1410 | 0.08722
1410.5 | 0.077978
1411 | 0.082201
1411.5 | 0.092155
1412 | 0.10906
1412.5 | 0.11248
1413 | 0.1198
1413.5 | 0.10487
1414 | 0.094187
1414.5 | 0.09202
1415 | 0.095472
1415.5 | 0.10115
1416 | 0.098993
1416.5 | 0.082188
1417 | 0.085565
1417.5 | 0.079135
1418 | 0.08555
1418.5 | 0.087378
1419 | 0.093021
1419.5 | 0.090033
1420 | 0.086217
1420.5 | 0.088404
1421 | 0.091571
1421.5 | 0.10266
1422 | 0.11375
1422.5 | 0.11188
1423 | 0.11593
1423.5 | 0.1159
1424 | 0.11159
1424.5 | 0.10591
1425 | 0.10733
1425.5 | 0.097687
1426 | 0.089991
1426.5 | 0.080189
1427 | 0.08153
1427.5 | 0.081896
1428 | 0.074138
1428.5 | 0.088844
1429 | 0.095096
1429.5 | 0.092461
1430 | 0.098086
1430.5 | 0.099487
1431 | 0.1075
1431.5 | 0.10787
1432 | 0.11105
1432.5 | 0.11526
1433 | 0.1054
1433.5 | 0.10299
1434 | 0.10267
1434.5 | 0.10046
1435 | 0.077702
1435.5 | 0.07755
1436 | 0.072298
1436.5 | 0.067256
1437 | 0.071913
1437.5 | 0.074728
1438 | 0.071214
1438.5 | 0.075356
1439 | 0.070873
1439.5 | 0.10007
1440 | 0.1003
1440.5 | 0.091353
1441 | 0.09787
1441.5 | 0.093915
1442 | 0.076478
1442.5 | 0.073337
1443 | 0.079862
1443.5 | 0.089963
1444 | 0.071539
1444.5 | 0.064063
1445 | 0.079677
1445.5 | 0.078912
1446 | 0.073443
1446.5 | 0.085278
1447 | 0.087763
1447.5 | 0.083052
1448 | 0.08353
1448.5 | 0.095328
1449 | 0.10075
1449.5 | 0.089545
1450 | 0.089669
1450.5 | 0.093248
1451 | 0.090459
1451.5 | 0.094108
1452 | 0.089163
1452.5 | 0.090132
1453 | 0.081172
1453.5 | 0.07866
1454 | 0.089912
1454.5 | 0.087779
1455 | 0.085297
1455.5 | 0.087664
1456 | 0.07794
1456.5 | 0.063934
1457 | 0.061646
1457.5 | 0.065633
1458 | 0.068116
1458.5 | 0.056666
1459 | 0.049291
1459.5 | 0.053238
1460 | 0.057366
1460.5 | 0.060691
1461 | 0.074548
1461.5 | 0.07316
1462 | 0.067597
1462.5 | 0.058051
1463 | 0.067535
1463.5 | 0.068269
1464 | 0.064307
1464.5 | 0.066505
1465 | 0.068292
1465.5 | 0.071749
1466 | 0.079391
1466.5 | 0.077696
1467 | 0.086103
1467.5 | 0.084046
1468 | 0.084256
1468.5 | 0.081268
1469 | 0.078131
1469.5 | 0.080118
1470 | 0.070485
1470.5 | 0.06278
1471 | 0.069807
1471.5 | 0.057311
1472 | 0.05593
1472.5 | 0.064429
1473 | 0.074064
1473.5 | 0.076881
1474 | 0.083683
1474.5 | 0.08979
1475 | 0.085941
1475.5 | 0.077334
1476 | 0.083183
1476.5 | 0.07944
1477 | 0.073161
1477.5 | 0.062029
1478 | 0.051515
1478.5 | 0.043697
1479 | 0.034892
1479.5 | 0.041447
1480 | 0.051507
1480.5 | 0.046241
1481 | 0.045446
1481.5 | 0.04204
1482 | 0.047896
1482.5 | 0.060462
1483 | 0.06328
1483.5 | 0.067862
1484 | 0.059366
1484.5 | 0.066859
1485 | 0.074575
1485.5 | 0.080734
1486 | 0.086143
1486.5 | 0.088944
1487 | 0.086193
1487.5 | 0.08041
1488 | 0.07481
1488.5 | 0.083896
1489 | 0.076872
1489.5 | 0.080769
1490 | 0.071655
1490.5 | 0.078985
1491 | 0.086838
1491.5 | 0.079492
1492 | 0.091607
1492.5 | 0.09426
1493 | 0.083723
1493.5 | 0.089107
1494 | 0.090399
1494.5 | 0.085962
1495 | 0.079205
1495.5 | 0.069047
1496 | 0.072362
1496.5 | 0.065328
1497 | 0.077864
1497.5 | 0.072437
1498 | 0.071682
1498.5 | 0.059797
1499 | 0.063434
1499.5 | 0.065644
1500 | 0.067499
1500.5 | 0.068749
1501 | 0.061306
1501.5 | 0.05045
1502 | 0.059979
1502.5 | 0.052569
1503 | 0.070124
1503.5 | 0.077364
1504 | 0.070458
1504.5 | 0.064758
1505 | 0.068035
1505.5 | 0.067673
1506 | 0.070836
1506.5 | 0.070491
1507 | 0.072973
1507.5 | 0.061135
1508 | 0.071078
1508.5 | 0.079544
1509 | 0.085513
1509.5 | 0.07987
1510 | 0.081884
1510.5 | 0.084037
1511 | 0.084908
1511.5 | 0.074182
1512 | 0.07543
1512.5 | 0.056223
1513 | 0.045012
1513.5 | 0.048064
1514 | 0.053831
1514.5 | 0.06625
1515 | 0.064132
1515.5 | 0.066699
1516 | 0.072654
1516.5 | 0.079959
1517 | 0.094113
1517.5 | 0.098013
1518 | 0.10256
1518.5 | 0.10475
1519 | 0.10778
1519.5 | 0.10193
1520 | 0.10739
1520.5 | 0.11974
1521 | 0.11022
1521.5 | 0.10572
1522 | 0.10062
1522.5 | 0.093677
1523 | 0.084028
1523.5 | 0.076475
1524 | 0.076289
1524.5 | 0.076395
1525 | 0.061298
1525.5 | 0.065958
1526 | 0.066361
1526.5 | 0.07243
1527 | 0.082384
1527.5 | 0.084991
1528 | 0.079271
1528.5 | 0.082148
1529 | 0.07484
1529.5 | 0.08789
1530 | 0.083772
1530.5 | 0.083481
1531 | 0.089785
1531.5 | 0.073625
1532 | 0.0725
1532.5 | 0.068969
1533 | 0.078192
1533.5 | 0.080424
1534 | 0.067822
1534.5 | 0.067138
1535 | 0.064938
1535.5 | 0.059009
1536 | 0.063112
1536.5 | 0.067362
1537 | 0.072129
1537.5 | 0.070489
1538 | 0.07158
1538.5 | 0.074747
1539 | 0.082885
1539.5 | 0.092108
1540 | 0.095874
1540.5 | 0.10093
1541 | 0.097233
1541.5 | 0.10216
1542 | 0.098072
1542.5 | 0.096185
1543 | 0.091031
1543.5 | 0.080235
1544 | 0.07576
1544.5 | 0.074102
1545 | 0.076551
1545.5 | 0.072322
1546 | 0.066028
1546.5 | 0.072802
1547 | 0.071996
1547.5 | 0.08965
1548 | 0.097894
1548.5 | 0.087478
1549 | 0.078163
1549.5 | 0.07441
1550 | 0.081809
1550.5 | 0.089691
1551 | 0.07943
1551.5 | 0.082695
1552 | 0.075869
1552.5 | 0.082196
1553 | 0.089868
1553.5 | 0.098528
1554 | 0.097035
1554.5 | 0.083854
1555 | 0.078702
1555.5 | 0.080464
1556 | 0.078174
1556.5 | 0.076777
1557 | 0.060574
1557.5 | 0.064494
1558 | 0.060164
1558.5 | 0.068602
1559 | 0.077775
1559.5 | 0.076831
1560 | 0.071367
1560.5 | 0.069496
1561 | 0.066835
1561.5 | 0.068604
1562 | 0.066975
1562.5 | 0.067897
1563 | 0.056855
1563.5 | 0.066181
1564 | 0.07129
1564.5 | 0.073832
1565 | 0.071856
1565.5 | 0.074979
1566 | 0.072314
1566.5 | 0.082313
1567 | 0.099227
1567.5 | 0.094987
1568 | 0.087513
1568.5 | 0.080506
1569 | 0.084423
1569.5 | 0.091579
1570 | 0.093314
1570.5 | 0.10348
1571 | 0.089387
1571.5 | 0.074385
1572 | 0.080477
1572.5 | 0.088074
1573 | 0.096781
1573.5 | 0.1032
1574 | 0.10268
1574.5 | 0.10177
1575 | 0.1035
1575.5 | 0.099442
1576 | 0.088905
1576.5 | 0.083504
1577 | 0.062849
1577.5 | 0.055422
1578 | 0.052328
1578.5 | 0.056452
1579 | 0.058853
1579.5 | 0.044837
1580 | 0.044341
1580.5 | 0.054273
1581 | 0.046132
1581.5 | 0.05932
1582 | 0.067118
1582.5 | 0.059296
1583 | 0.050258
1583.5 | 0.041444
1584 | 0.050409
1584.5 | 0.056517
1585 | 0.05225
1585.5 | 0.060919
1586 | 0.054515
1586.5 | 0.055532
1587 | 0.059017
1587.5 | 0.056279
1588 | 0.05737
1588.5 | 0.053415
1589 | 0.058165
1589.5 | 0.065784
1590 | 0.062865
1590.5 | 0.061479
1591 | 0.058816
1591.5 | 0.061254
1592 | 0.05953
1592.5 | 0.05967
1593 | 0.062743
1593.5 | 0.047657
1594 | 0.0361
1594.5 | 0.044134
1595 | 0.042598
1595.5 | 0.033388
1596 | 0.030986
1596.5 | 0.040775
1597 | 0.03884
1597.5 | 0.042657
1598 | 0.051189
1598.5 | 0.05532
1599 | 0.052773
1599.5 | 0.063373
1600 | 0.068202
1600.5 | 0.07602
1601 | 0.072374
1601.5 | 0.059493
1602 | 0.06137
1602.5 | 0.063796
1603 | 0.073622
1603.5 | 0.077922
1604 | 0.070531
1604.5 | 0.059299
1605 | 0.046562
1605.5 | 0.046993
1606 | 0.064437
1606.5 | 0.066479
1607 | 0.070009
1607.5 | 0.062893
1608 | 0.061863
1608.5 | 0.077705
1609 | 0.075154
1609.5 | 0.084616
1610 | 0.08253
1610.5 | 0.078584
1611 | 0.065667
1611.5 | 0.063018
1612 | 0.064386
1612.5 | 0.058781
1613 | 0.047084
1613.5 | 0.060394
1614 | 0.047804
1614.5 | 0.045669
1615 | 0.046009
1615.5 | 0.051573
1616 | 0.041504
1616.5 | 0.039965
1617 | 0.042555
1617.5 | 0.044498
1618 | 0.057943
1618.5 | 0.066827
1619 | 0.062377
1619.5 | 0.062041
1620 | 0.052287
1620.5 | 0.065587
1621 | 0.06538
1621.5 | 0.068741
1622 | 0.064399
1622.5 | 0.058649
1623 | 0.061035
1623.5 | 0.072675
1624 | 0.075454
1624.5 | 0.088172
1625 | 0.081005
1625.5 | 0.080845
1626 | 0.092831
1626.5 | 0.1064
1627 | 0.094967
1627.5 | 0.088403
1628 | 0.088437
1628.5 | 0.078343
1629 | 0.07832
1629.5 | 0.085056
1630 | 0.090529
1630.5 | 0.076701
1631 | 0.069108
1631.5 | 0.076075
1632 | 0.080775
1632.5 | 0.079989
1633 | 0.096262
1633.5 | 0.10089
1634 | 0.094371
1634.5 | 0.089283
1635 | 0.085078
1635.5 | 0.08744
1636 | 0.076212
1636.5 | 0.072807
1637 | 0.076145
1637.5 | 0.074061
1638 | 0.070284
1638.5 | 0.064713
1639 | 0.057939
1639.5 | 0.054176
1640 | 0.048594
1640.5 | 0.049964
1641 | 0.044422
1641.5 | 0.035847
1642 | 0.036578
1642.5 | 0.027794
1643 | 0.029797
1643.5 | 0.022191
1644 | 0.020793
1644.5 | 0.025415
1645 | 0.032592
1645.5 | 0.035134
1646 | 0.034159
1646.5 | 0.022614
1647 | 0.025012
1647.5 | 0.022146
1648 | 0.025167
1648.5 | 0.035345
1649 | 0.02177
1649.5 | 0.026873
1650 | 0.027857
1650.5 | 0.032225
1651 | 0.040661
1651.5 | 0.035956
1652 | 0.031615
1652.5 | 0.041697
1653 | 0.036298
1653.5 | 0.046813
1654 | 0.052548
1654.5 | 0.05495
1655 | 0.051853
1655.5 | 0.051036
1656 | 0.054306
1656.5 | 0.07644
1657 | 0.077468
1657.5 | 0.085975
1658 | 0.077237
1658.5 | 0.0639
1659 | 0.073917
1659.5 | 0.078402
1660 | 0.080081
1660.5 | 0.086042
1661 | 0.080614
1661.5 | 0.081902
1662 | 0.078211
1662.5 | 0.083849
1663 | 0.081506
1663.5 | 0.067559
1664 | 0.057071
1664.5 | 0.059515
1665 | 0.061459
1665.5 | 0.059085
1666 | 0.059735
1666.5 | 0.056441
1667 | 0.062934
1667.5 | 0.064919
1668 | 0.069104
1668.5 | 0.078094
1669 | 0.069893
1669.5 | 0.075896
1670 | 0.074608
1670.5 | 0.077952
1671 | 0.078438
1671.5 | 0.080402
1672 | 0.089992
1672.5 | 0.098002
1673 | 0.10066
1673.5 | 0.10386
1674 | 0.099941
1674.5 | 0.10217
1675 | 0.095008
1675.5 | 0.088312
1676 | 0.071984
1676.5 | 0.055968
1677 | 0.045943
1677.5 | 0.044957
1678 | 0.036918
1678.5 | 0.032742
1679 | 0.039704
1679.5 | 0.036677
1680 | 0.045417
1680.5 | 0.057252
1681 | 0.066355
1681.5 | 0.072915
1682 | 0.05591
1682.5 | 0.068941
1683 | 0.068726
1683.5 | 0.059734
1684 | 0.071495
1684.5 | 0.070995
1685 | 0.064416
1685.5 | 0.058437
1686 | 0.051527
1686.5 | 0.067233
1687 | 0.070462
1687.5 | 0.065484
1688 | 0.057875
1688.5 | 0.058521
1689 | 0.047478
1689.5 | 0.049996
1690 | 0.050136
1690.5 | 0.042545
1691 | 0.037562
1691.5 | 0.030632
1692 | 0.040016
1692.5 | 0.045449
1693 | 0.039222
1693.5 | 0.050411
1694 | 0.04985
1694.5 | 0.0566
1695 | 0.070587
1695.5 | 0.078438
1696 | 0.073306
1696.5 | 0.067762
1697 | 0.0699
1697.5 | 0.07228
1698 | 0.073109
1698.5 | 0.077006
1699 | 0.077457
1699.5 | 0.076384
1700 | 0.073526
1700.5 | 0.085685
1701 | 0.077617
1701.5 | 0.082421
1702 | 0.072297
1702.5 | 0.062426
1703 | 0.04149
1703.5 | 0.039837
1704 | 0.040164
1704.5 | 0.043797
1705 | 0.029775
1705.5 | 0.027661
1706 | 0.016953
1706.5 | 0.01886
1707 | 0.035397
1707.5 | 0.063462
1708 | 0.064683
1708.5 | 0.050194
1709 | 0.038303
1709.5 | 0.06653
1710 | 0.078098
1710.5 | 0.086048
1711 | 0.076374
1711.5 | 0.074944
1712 | 0.061533
1712.5 | 0.059578
1713 | 0.061544
1713.5 | 0.070399
1714 | 0.049586
1714.5 | 0.035111
1715 | 0.018833
1715.5 | 0.031935
1716 | 0.021544
1716.5 | 0.045412
1717 | 0.053959
1717.5 | 0.07331
1718 | 0.075765
1718.5 | 0.084284
1719 | 0.095424
1719.5 | 0.10888
1720 | 0.11363
1720.5 | 0.11012
1721 | 0.078734
1721.5 | 0.066647
1722 | 0.047773
1722.5 | 0.050338
1723 | 0.035265
1723.5 | 0.03133
1724 | 0.019579
1724.5 | 0.0098129
1725 | 0.034535
1725.5 | 0.043877
1726 | 0.052587
1726.5 | 0.056135
1727 | 0.046923
1727.5 | 0.058663
1728 | 0.065485
1728.5 | 0.073537
1729 | 0.085923
1729.5 | 0.077158
1730 | 0.077274
1730.5 | 0.072394
1731 | 0.066766
1731.5 | 0.069616
1732 | 0.065824
1732.5 | 0.063486
1733 | 0.068681
1733.5 | 0.076203
1734 | 0.068864
1734.5 | 0.069224
1735 | 0.070133
1735.5 | 0.059478
1736 | 0.081707
1736.5 | 0.085325
1737 | 0.080792
1737.5 | 0.072905
1738 | 0.06405
1738.5 | 0.063247
1739 | 0.066785
1739.5 | 0.062881
1740 | 0.086402
1740.5 | 0.067082
1741 | 0.073943
1741.5 | 0.074075
1742 | 0.071288
1742.5 | 0.066765
1743 | 0.056292
1743.5 | 0.057481
1744 | 0.055991
1744.5 | 0.046776
1745 | 0.04849
1745.5 | 0.038572
1746 | 0.045029
1746.5 | 0.068414
1747 | 0.054843
1747.5 | 0.05708
1748 | 0.055722
1748.5 | 0.053165
1749 | 0.071391
1749.5 | 0.050881
1750 | 0.044523
1750.5 | 0.050944
1751 | 0.045054
1751.5 | 0.065439
1752 | 0.07359
1752.5 | 0.080157
1753 | 0.078696
1753.5 | 0.07764
1754 | 0.098538
1754.5 | 0.10101
1755 | 0.10222
1755.5 | 0.080841
1756 | 0.079254
1756.5 | 0.080029
1757 | 0.082769
1757.5 | 0.090072
1758 | 0.078484
1758.5 | 0.077751
1759 | 0.077539
1759.5 | 0.061814
1760 | 0.072005
1760.5 | 0.066194
1761 | 0.067442
1761.5 | 0.066441
1762 | 0.066784
1762.5 | 0.071227
1763 | 0.074188
1763.5 | 0.073615
1764 | 0.089834
1764.5 | 0.092669
1765 | 0.098407
1765.5 | 0.094483
1766 | 0.070735
1766.5 | 0.072341
1767 | 0.069298
1767.5 | 0.053215
1768 | 0.067034
1768.5 | 0.060577
1769 | 0.063978
1769.5 | 0.059243
1770 | 0.06685
1770.5 | 0.075619
1771 | 0.068372
1771.5 | 0.068835
1772 | 0.08264
1772.5 | 0.080984
1773 | 0.081492
1773.5 | 0.082762
1774 | 0.096548
1774.5 | 0.093924
1775 | 0.097191
1775.5 | 0.099534
1776 | 0.098177
1776.5 | 0.088785
1777 | 0.088102
1777.5 | 0.087639
1778 | 0.066629
1778.5 | 0.04599
1779 | 0.034207
1779.5 | 0.046108
1780 | 0.055185
1780.5 | 0.051786
1781 | 0.058156
1781.5 | 0.04249
1782 | 0.029234
1782.5 | 0.06199
1783 | 0.057528
1783.5 | 0.053422
1784 | 0.045639
1784.5 | 0.040845
1785 | 0.048244
1785.5 | 0.051184
1786 | 0.057009
1786.5 | 0.067403
1787 | 0.037913
1787.5 | 0.044589
1788 | 0.051645
1788.5 | 0.053302
1789 | 0.045089
1789.5 | 0.039981
1790 | 0.046482
1790.5 | 0.049348
1791 | 0.047956
1791.5 | 0.063002
1792 | 0.068114
1792.5 | 0.067075
1793 | 0.062237
1793.5 | 0.06347
1794 | 0.061498
1794.5 | 0.041855
1795 | 0.035353
1795.5 | 0.02819
1796 | 0.033108
1796.5 | 0.033897
1797 | 0.033735
1797.5 | 0.019335
1798 | 0.020874
1798.5 | 0.029135
1799 | 0.044727
1799.5 | 0.06626
1800 | 0.084251
1800.5 | 0.067712
1801 | 0.058348
1801.5 | 0.063546
1802 | 0.076584
1802.5 | 0.072665
1803 | 0.07376
1803.5 | 0.066827
1804 | 0.040221
1804.5 | 0.016766
1805 | 0.033493
1805.5 | 0.042718
1806 | 0.036729
1806.5 | 0.041694
1807 | 0.050515
1807.5 | 0.037318
1808 | 0.045381
1808.5 | 0.059143
1809 | 0.06442
1809.5 | 0.038068
1810 | 0.053846
1810.5 | 0.064842
1811 | 0.056396
1811.5 | 0.060277
1812 | 0.063043
1812.5 | 0.04917
1813 | 0.042642
1813.5 | 0.038652
1814 | 0.063203
1814.5 | 0.044215
1815 | 0.035087
1815.5 | 0.039411
1816 | 0.032961
1816.5 | 0.039915
1817 | 0.043726
1817.5 | 0.05503
1818 | 0.069162
1818.5 | 0.066844
1819 | 0.055895
1819.5 | 0.047426
1820 | 0.058349
1820.5 | 0.05027
1821 | 0.048562
1821.5 | 0.051797
1822 | 0.04839
1822.5 | 0.035802
1823 | 0.045126
1823.5 | 0.060389
1824 | 0.075756
1824.5 | 0.059818
1825 | 0.074641
1825.5 | 0.083755
1826 | 0.075658
1826.5 | 0.067375
1827 | 0.090944
1827.5 | 0.077071
1828 | 0.061217
1828.5 | 0.045267
1829 | 0.045087
1829.5 | 0.032367
1830 | 0.009931
1830.5 | 0.024524
1831 | 0.019643
1831.5 | -0.0014467
1832 | -0.015769
1832.5 | -0.00043917
1833 | 0.01584
1833.5 | 0.011921
1834 | 0.019935
1834.5 | 0.038857
1835 | 0.037513
1835.5 | 0.051053
1836 | 0.064824
1836.5 | 0.076659
1837 | 0.071637
1837.5 | 0.058748
1838 | 0.080665
1838.5 | 0.06176
1839 | 0.056375
1839.5 | 0.039824
1840 | 0.034232
1840.5 | 0.032618
1841 | 0.028158
1841.5 | 0.030384
1842 | 0.049275
1842.5 | 0.042263
1843 | 0.05462
1843.5 | 0.058759
1844 | 0.061511
1844.5 | 0.049984
1845 | 0.046409
1845.5 | 0.048779
1846 | 0.046833
1846.5 | 0.039954
1847 | 0.022663
1847.5 | 0.034242
1848 | 0.020203
1848.5 | 0.02543
1849 | 0.038406
1849.5 | 0.048794
1850 | 0.056815
1850.5 | 0.059202
1851 | 0.050311
1851.5 | 0.062506
1852 | 0.049571
1852.5 | 0.062799
1853 | 0.059442
1853.5 | 0.058307
1854 | 0.048335
1854.5 | 0.04497
1855 | 0.050954
1855.5 | 0.063403
1856 | 0.07408
1856.5 | 0.078136
1857 | 0.07038
1857.5 | 0.072668
1858 | 0.07815
1858.5 | 0.075775
1859 | 0.07583
1859.5 | 0.058849
1860 | 0.052803
1860.5 | 0.041043
1861 | 0.045114
1861.5 | 0.035025
1862 | 0.027725
1862.5 | 0.039411
1863 | 0.036365
1863.5 | 0.036122
1864 | 0.043669
1864.5 | 0.039778
1865 | 0.051369
1865.5 | 0.051518
1866 | 0.070421
1866.5 | 0.077133
1867 | 0.053583
1867.5 | 0.061097
1868 | 0.071324
1868.5 | 0.086665
1869 | 0.089332
1869.5 | 0.090916
1870 | 0.083924
1870.5 | 0.076813
1871 | 0.073183
1871.5 | 0.087277
1872 | 0.06534
1872.5 | 0.049625
1873 | 0.030054
1873.5 | 0.024251
1874 | 0.018602
1874.5 | 0.020661
1875 | 0.021092
1875.5 | 0.022386
1876 | 0.010362
1876.5 | 0.027175
1877 | 0.034349
1877.5 | 0.037867
1878 | 0.045242
1878.5 | 0.028066
1879 | 0.030636
1879.5 | 0.029346
1880 | 0.03262
1880.5 | 0.028458
1881 | 0.028665
1881.5 | 0.025732
1882 | 0.033514
1882.5 | 0.034855
1883 | 0.052837
1883.5 | 0.050232
1884 | 0.050074
1884.5 | 0.047522
1885 | 0.046536
1885.5 | 0.039629
1886 | 0.032018
1886.5 | 0.034803
1887 | 0.031274
1887.5 | 0.02613
1888 | 0.045799
1888.5 | 0.050413
1889 | 0.051915
1889.5 | 0.071973
1890 | 0.083434
1890.5 | 0.097194
1891 | 0.10333
1891.5 | 0.10825
1892 | 0.11982
1892.5 | 0.086017
1893 | 0.078063
1893.5 | 0.077318
1894 | 0.06836
1894.5 | 0.064868
1895 | 0.069478
1895.5 | 0.042973
1896 | 0.04004
1896.5 | 0.028903
1897 | 0.043827
1897.5 | 0.050259
1898 | 0.058684
1898.5 | 0.059946
1899 | 0.056715
1899.5 | 0.031784
1900 | 0.05172
1900.5 | 0.040868
1901 | 0.040442
1901.5 | 0.043757
1902 | 0.035793
1902.5 | 0.017159
1903 | 0.014118
1903.5 | 0.0090726
1904 | 0.027232
1904.5 | 0.042203
1905 | 0.068386
1905.5 | 0.080283
1906 | 0.074135
1906.5 | 0.081788
1907 | 0.083412
1907.5 | 0.099071
1908 | 0.096295
1908.5 | 0.098913
1909 | 0.075531
1909.5 | 0.053338
1910 | 0.044406
1910.5 | 0.058453
1911 | 0.053472
1911.5 | 0.062483
1912 | 0.047872
1912.5 | 0.062786
1913 | 0.070812
1913.5 | 0.066495
1914 | 0.086825
1914.5 | 0.078853
1915 | 0.071883
1915.5 | 0.085149
1916 | 0.091864
1916.5 | 0.077051
1917 | 0.081928
1917.5 | 0.067472
1918 | 0.073503
1918.5 | 0.049173
1919 | 0.057769
1919.5 | 0.052009
1920 | 0.048275
1920.5 | 0.034075
1921 | 0.050262
1921.5 | 0.034341
1922 | 0.031336
1922.5 | 0.027849
1923 | 0.043937
1923.5 | 0.031028
1924 | 0.033604
1924.5 | 0.042735
1925 | 0.057958
1925.5 | 0.047462
1926 | 0.06323
1926.5 | 0.076822
1927 | 0.057917
1927.5 | 0.061511
1928 | 0.061968
1928.5 | 0.062575
1929 | 0.045872
1929.5 | 0.034183
1930 | 0.044448
1930.5 | 0.047413
1931 | 0.029522
1931.5 | 0.054658
1932 | 0.051259
1932.5 | 0.053931
1933 | 0.044257
1933.5 | 0.044533
1934 | 0.062028
1934.5 | 0.052421
1935 | 0.042718
1935.5 | 0.048481
1936 | 0.049138
1936.5 | 0.042545
1937 | 0.060745
1937.5 | 0.072509
1938 | 0.075881
1938.5 | 0.068799
1939 | 0.077901
1939.5 | 0.085826
1940 | 0.079285
1940.5 | 0.067848
1941 | 0.086375
1941.5 | 0.071052
1942 | 0.070394
1942.5 | 0.053709
1943 | 0.056216
1943.5 | 0.05469
1944 | 0.048467
1944.5 | 0.055287
1945 | 0.069511
1945.5 | 0.048128
1946 | 0.044276
1946.5 | 0.056797
1947 | 0.058978
1947.5 | 0.056031
1948 | 0.039992
1948.5 | 0.030894
1949 | 0.032267
1949.5 | 0.039803
1950 | 0.040202
1950.5 | 0.062264
1951 | 0.047819
1951.5 | 0.067739
1952 | 0.062793
1952.5 | 0.08457
1953 | 0.092678
1953.5 | 0.088921
1954 | 0.071748
1954.5 | 0.061429
1955 | 0.042911
1955.5 | 0.039975
1956 | 0.036799
1956.5 | 0.04638
1957 | 0.047173
1957.5 | 0.049555
1958 | 0.050933
1958.5 | 0.050113
1959 | 0.060417
1959.5 | 0.071432
1960 | 0.083172
1960.5 | 0.094081
1961 | 0.083559
1961.5 | 0.078009
1962 | 0.070536
1962.5 | 0.057099
1963 | 0.084604
1963.5 | 0.07743
1964 | 0.060959
1964.5 | 0.05699
1965 | 0.046678
1965.5 | 0.055403
1966 | 0.046323
1966.5 | 0.035734
1967 | 0.071414
1967.5 | 0.061113
1968 | 0.078405
1968.5 | 0.089781
1969 | 0.090769
1969.5 | 0.085444
1970 | 0.078846
1970.5 | 0.086646
1971 | 0.090952
1971.5 | 0.059466
1972 | 0.050111
1972.5 | 0.047027
1973 | 0.036602
1973.5 | 0.027824
1974 | 0.02751
1974.5 | 0.028827
1975 | 0.023406
1975.5 | 0.02789
1976 | 0.051646
1976.5 | 0.037572
1977 | 0.035052
1977.5 | 0.056218
1978 | 0.061076
1978.5 | 0.052523
1979 | 0.055315
1979.5 | 0.063244
1980 | 0.063115
1980.5 | 0.043203
1981 | 0.043292
1981.5 | 0.043002
1982 | 0.025558
1982.5 | 0.025054
1983 | 0.0422
1983.5 | 0.02945
1984 | 0.031476
1984.5 | 0.040433
1985 | 0.060439
1985.5 | 0.061615
1986 | 0.064937
1986.5 | 0.067234
1987 | 0.063626
1987.5 | 0.059995
1988 | 0.060264
1988.5 | 0.053776
1989 | 0.040046
1989.5 | 0.0073192
1990 | 0.010887
1990.5 | 0.0029799
1991 | 0.018563
1991.5 | 0.013842
1992 | 0.016547
1992.5 | 0.027662
1993 | 0.018109
1993.5 | 0.033559
1994 | 0.078812
1994.5 | 0.088139
1995 | 0.097024
1995.5 | 0.10237
1996 | 0.1168
1996.5 | 0.11523
1997 | 0.10104
1997.5 | 0.12461
1998 | 0.11538
1998.5 | 0.087327
1999 | 0.099472
1999.5 | 0.081483
2000 | 0.047242
2000.5 | 0.034228
2001 | 0.033366
2001.5 | 0.028552
2002 | 0.014028
2002.5 | 0.023284
2003 | 0.023301
2003.5 | 0.0015071
2004 | 0.017192
2004.5 | 0.03964
2005 | 0.038373
2005.5 | 0.028828
2006 | 0.056624
2006.5 | 0.064924
2007 | 0.07559
2007.5 | 0.074597
2008 | 0.080126
2008.5 | 0.0765
2009 | 0.069856
2009.5 | 0.076181
2010 | 0.083668
2010.5 | 0.060408
2011 | 0.044974
2011.5 | 0.033327
2012 | 0.039357
2012.5 | 0.022963
2013 | 0.012606
2013.5 | 0.018355
2014 | 0.024752
2014.5 | 0.019004
2015 | 0.027922
2015.5 | 0.041791
2016 | 0.034248
2016.5 | 0.032775
2017 | 0.054337
2017.5 | 0.057053
2018 | 0.033258
2018.5 | 0.011544
2019 | 0.0068553
2019.5 | 0.015234
2020 | -0.0054189
2020.5 | 0.0035346
2021 | 0.014452
2021.5 | 0.007102
2022 | 0.0096033
2022.5 | 0.0086636
2023 | 0.021893
2023.5 | 0.01581
2024 | 0.017523
2024.5 | 0.032345
2025 | 0.022065
2025.5 | 0.0088975
2026 | 0.023126
2026.5 | 0.028604
2027 | 0.039778
2027.5 | 0.057878
2028 | 0.068709
2028.5 | 0.069541
2029 | 0.061785
2029.5 | 0.068832
2030 | 0.057683
2030.5 | 0.052904
2031 | 0.052997
2031.5 | 0.061556
2032 | 0.03677
2032.5 | 0.034397
2033 | 0.025542
2033.5 | 0.026917
2034 | 0.0024836
2034.5 | 0.011386
2035 | 0.010079
2035.5 | 0.0035969
2036 | 0.0022428
2036.5 | 0.027805
2037 | 0.027559
2037.5 | 0.029825
2038 | 0.032534
2038.5 | 0.053456
2039 | 0.044483
2039.5 | 0.028434
2040 | 0.047787
2040.5 | 0.054979
2041 | 0.037065
2041.5 | 0.036687
2042 | 0.036763
2042.5 | 0.042267
2043 | 0.053909
2043.5 | 0.052756
2044 | 0.080322
2044.5 | 0.066996
2045 | 0.051978
2045.5 | 0.058935
2046 | 0.058631
2046.5 | 0.048673
2047 | 0.057913
2047.5 | 0.059105
2048 | 0.061508
2048.5 | 0.04
2049 | 0.046745
2049.5 | 0.05571
2050 | 0.038159
2050.5 | 0.032123
2051 | 0.038065
2051.5 | 0.036756
2052 | 0.014716
2052.5 | 0.024196
2053 | 0.030764
2053.5 | 0.021413
2054 | 0.026641
2054.5 | 0.024199
2055 | 0.032442
2055.5 | 0.029055
2056 | 0.03511
2056.5 | 0.039893
2057 | 0.047859
2057.5 | 0.046649
2058 | 0.045865
2058.5 | 0.032928
2059 | 0.046465
2059.5 | 0.060006
2060 | 0.072109
2060.5 | 0.055501
2061 | 0.063334
2061.5 | 0.073756
2062 | 0.071596
2062.5 | 0.092668
2063 | 0.1009
2063.5 | 0.10282
2064 | 0.08551
2064.5 | 0.076817
2065 | 0.083187
2065.5 | 0.069371
2066 | 0.051221
2066.5 | 0.051545
2067 | 0.029734
2067.5 | 0.025131
2068 | 0.023396
2068.5 | 0.031921
2069 | 0.03531
2069.5 | 0.021996
2070 | 0.025384
2070.5 | 0.015854
2071 | 0.014044
2071.5 | 0.025472
2072 | 0.021343
2072.5 | 0.031897
2073 | 0.037032
2073.5 | 0.035889
2074 | 0.042893
2074.5 | 0.055402
2075 | 0.063991
2075.5 | 0.065023
2076 | 0.073431
2076.5 | 0.095019
2077 | 0.079468
2077.5 | 0.071507
2078 | 0.065253
2078.5 | 0.075603
2079 | 0.068538
2079.5 | 0.066888
2080 | 0.073304
2080.5 | 0.063397
2081 | 0.046426
2081.5 | 0.06171
2082 | 0.050072
2082.5 | 0.053454
2083 | 0.057267
2083.5 | 0.05602
2084 | 0.053074
2084.5 | 0.041483
2085 | 0.04224
2085.5 | 0.03587
2086 | 0.020792
2086.5 | 0.026904
2087 | 0.022753
2087.5 | -0.0012495
2088 | -0.011096
2088.5 | -0.00067878
2089 | 0.0019295
2089.5 | -0.0013592
2090 | -0.0040406
2090.5 | 0.001408
2091 | 0.024976
2091.5 | 0.024553
2092 | 0.02429
2092.5 | 0.029421
2093 | 0.02385
2093.5 | 0.02103
2094 | 0.015701
2094.5 | 0.024877
2095 | 0.011117
2095.5 | -0.0091887
2096 | -0.0176
2096.5 | -0.0051201
2097 | 0.003562
2097.5 | 0.0025657
2098 | 0.0096502
2098.5 | 0.011849
2099 | 0.0087362
2099.5 | 0.032084
2100 | 0.033559
2100.5 | 0.056937
2101 | 0.037685
2101.5 | 0.033911
2102 | 0.033868
2102.5 | 0.029307
2103 | 0.031184
2103.5 | 0.027146
2104 | 0.019083
2104.5 | 0.018825
2105 | 0.0051157
2105.5 | 0.021867
2106 | 0.029555
2106.5 | 0.027645
2107 | 0.034838
2107.5 | 0.017975
2108 | 0.028432
2108.5 | 0.020517
2109 | 0.021751
2109.5 | 0.0080893
2110 | 0.016075
2110.5 | 0.02307
2111 | 0.026479
2111.5 | 0.015923
2112 | 0.023606
2112.5 | 0.020026
2113 | 0.032257
2113.5 | 0.020212
2114 | 0.035052
2114.5 | 0.0238
2115 | 0.01048
2115.5 | 0.0089383
2116 | 0.017433
2116.5 | 0.035174
2117 | 0.034427
2117.5 | 0.017635
2118 | 0.028204
2118.5 | 0.019602
2119 | 0.031411
2119.5 | 0.0099439
2120 | 0.016634
2120.5 | 0.0078302
2121 | -0.0035267
2121.5 | -0.024533
2122 | -0.014423
2122.5 | -0.0046466
2123 | 0.0077246
2123.5 | 0.00055665
2124 | 0.035638
2124.5 | 0.027974
2125 | 0.023971
2125.5 | 0.015329
2126 | 0.041423
2126.5 | 0.03585
2127 | 0.027423
2127.5 | 0.025886
2128 | 0.027998
2128.5 | 0.01172
2129 | 0.008898
2129.5 | 0.027003
2130 | 0.03663
2130.5 | 0.021729
2131 | 0.038974
2131.5 | 0.034554
2132 | 0.029035
2132.5 | 0.031314
2133 | 0.046385
2133.5 | 0.051178
2134 | 0.049908
2134.5 | 0.045912
2135 | 0.058105
2135.5 | 0.054006
2136 | 0.053361
2136.5 | 0.064044
2137 | 0.062229
2137.5 | 0.0559
2138 | 0.059343
2138.5 | 0.056698
2139 | 0.047086
2139.5 | 0.045051
2140 | 0.039791
2140.5 | 0.048542
2141 | 0.051509
2141.5 | 0.064303
2142 | 0.055109
2142.5 | 0.051069
2143 | 0.049049
2143.5 | 0.058456
2144 | 0.06023
2144.5 | 0.060251
2145 | 0.053593
2145.5 | 0.051976
2146 | 0.032829
2146.5 | 0.018732
2147 | 0.028664
2147.5 | 0.019555
2148 | 0.019555
2148.5 | 0.0034873
2149 | -0.0021311
2149.5 | -0.0061774
2150 | -0.016249
2150.5 | -0.013009
2151 | 0.0050972
2151.5 | 0.0048702
2152 | 0.015347
2152.5 | 0.024715
2153 | 0.039189
2153.5 | 0.053557
2154 | 0.059406
2154.5 | 0.057667
2155 | 0.059812
2155.5 | 0.054849
2156 | 0.056599
2156.5 | 0.048939
2157 | 0.04732
2157.5 | 0.04255
2158 | 0.043524
2158.5 | 0.040204
2159 | 0.047354
2159.5 | 0.063074
2160 | 0.067256
2160.5 | 0.062111
2161 | 0.062025
2161.5 | 0.070011
2162 | 0.073859
2162.5 | 0.055475
2163 | 0.060285
2163.5 | 0.062268
2164 | 0.05512
2164.5 | 0.05916
2165 | 0.072914
2165.5 | 0.072639
2166 | 0.060818
2166.5 | 0.069062
2167 | 0.073484
2167.5 | 0.075914
2168 | 0.077524
2168.5 | 0.072351
2169 | 0.070734
2169.5 | 0.07514
2170 | 0.067421
2170.5 | 0.080378
2171 | 0.077425
2171.5 | 0.073242
2172 | 0.081745
2172.5 | 0.086627
2173 | 0.075324
2173.5 | 0.079577
2174 | 0.046922
2174.5 | 0.051706
2175 | 0.034069
2175.5 | 0.026245
2176 | 0.022659
2176.5 | 0.025145
2177 | 0.0084218
2177.5 | 0.010973
2178 | 0.0019391
2178.5 | 0.018001
2179 | 0.027218
2179.5 | 0.026258
2180 | 0.027731
2180.5 | 0.02441
2181 | 0.018719
2181.5 | 0.021633
2182 | 0.034213
2182.5 | 0.022748
2183 | 0.014678
2183.5 | 0.0047006
2184 | 0.00084412
2184.5 | -0.0073078
2185 | 0.010953
2185.5 | 0.013013
2186 | 0.019167
2186.5 | 0.012427
2187 | 0.025011
2187.5 | 0.029153
2188 | 0.03532
2188.5 | 0.047338
2189 | 0.070601
2189.5 | 0.073719
2190 | 0.068848
2190.5 | 0.067807
2191 | 0.063868
2191.5 | 0.055326
2192 | 0.065786
2192.5 | 0.066813
2193 | 0.066569
2193.5 | 0.049255
2194 | 0.038597
2194.5 | 0.037777
2195 | 0.041554
2195.5 | 0.02568
2196 | 0.036245
2196.5 | 0.028532
2197 | 0.028562
2197.5 | 0.018586
2198 | 0.022776
2198.5 | 0.018662
2199 | 0.013926
2199.5 | 0.007332
2200 | 0.039544
2200.5 | 0.027005
2201 | 0.02541
2201.5 | 0.037821
2202 | 0.04931
2202.5 | 0.066992
2203 | 0.068736
2203.5 | 0.074306
2204 | 0.086762
2204.5 | 0.076109
2205 | 0.086852
2205.5 | 0.086202
2206 | 0.079193
2206.5 | 0.071436
2207 | 0.056765
2207.5 | 0.051356
2208 | 0.060742
2208.5 | 0.050896
2209 | 0.058323
2209.5 | 0.059648
2210 | 0.069048
2210.5 | 0.069018
2211 | 0.067172
2211.5 | 0.077702
2212 | 0.094671
2212.5 | 0.073619
2213 | 0.072143
2213.5 | 0.057487
2214 | 0.059934
2214.5 | 0.047234
2215 | 0.045408
2215.5 | 0.048226
2216 | 0.025768
2216.5 | 0.012076
2217 | 0.014849
2217.5 | 0.020093
2218 | 0.020043
2218.5 | 0.040893
2219 | 0.037127
2219.5 | 0.028164
2220 | 0.022899
2220.5 | 0.03605
2221 | 0.040558
2221.5 | 0.03835
2222 | 0.051605
2222.5 | 0.061918
2223 | 0.05051
2223.5 | 0.0543
2224 | 0.076263
2224.5 | 0.092956
2225 | 0.08754
2225.5 | 0.099522
2226 | 0.11624
2226.5 | 0.097913
2227 | 0.092201
2227.5 | 0.082744
2228 | 0.077814
2228.5 | 0.063279
2229 | 0.055905
2229.5 | 0.054224
2230 | 0.034979
2230.5 | 0.030199
2231 | 0.022421
2231.5 | 0.029242
2232 | 0.033831
2232.5 | 0.033877
2233 | 0.035213
2233.5 | 0.025642
2234 | 0.032267
2234.5 | 0.053815
2235 | 0.0444
2235.5 | 0.056542
2236 | 0.049852
2236.5 | 0.043482
2237 | 0.038745
2237.5 | 0.042466
2238 | 0.045485
2238.5 | 0.052115
2239 | 0.035291
2239.5 | 0.040457
2240 | 0.036895
2240.5 | 0.030617
2241 | 0.030634
2241.5 | 0.033766
2242 | 0.03808
2242.5 | 0.047682
2243 | 0.03752
2243.5 | 0.043509
2244 | 0.049892
2244.5 | 0.058559
2245 | 0.074672
2245.5 | 0.071979
2246 | 0.076965
2246.5 | 0.086955
2247 | 0.095447
2247.5 | 0.10514
2248 | 0.10415
2248.5 | 0.098549
2249 | 0.085048
2249.5 | 0.075755
2250 | 0.08082
2250.5 | 0.083009
2251 | 0.082475
2251.5 | 0.070604
2252 | 0.065824
2252.5 | 0.072332
2253 | 0.069327
2253.5 | 0.069833
2254 | 0.062467
2254.5 | 0.059429
2255 | 0.056735
2255.5 | 0.040097
2256 | 0.051379
2256.5 | 0.043424
2257 | 0.026646
2257.5 | 0.022495
2258 | 0.023294
2258.5 | 0.041746
2259 | 0.031845
2259.5 | 0.047986
2260 | 0.046977
2260.5 | 0.028399
2261 | 0.01704
2261.5 | 0.011301
2262 | 0.016163
2262.5 | 0.024471
2263 | 0.0035767
2263.5 | 0.0073047
2264 | 0.0030901
2264.5 | -0.00062419
2265 | 0.0049307
2265.5 | 0.020498
2266 | 0.028402
2266.5 | 0.01862
2267 | 0.019102
2267.5 | 0.045172
2268 | 0.033536
2268.5 | 0.018077
2269 | 0.0072704
2269.5 | -0.0013548
2270 | -0.0075265
2270.5 | 0.0043965
2271 | 0.0070825
2271.5 | 0.0020621
2272 | -0.0058334
2272.5 | 0.00771
2273 | 0.018949
2273.5 | 0.02476
2274 | 0.049921
2274.5 | 0.058027
2275 | 0.045167
2275.5 | 0.055147
2276 | 0.056538
2276.5 | 0.061205
2277 | 0.052142
2277.5 | 0.044905
2278 | 0.059954
2278.5 | 0.044429
2279 | 0.033423
2279.5 | 0.034216
2280 | 0.033411
2280.5 | 0.036362
2281 | 0.016651
2281.5 | 0.030087
2282 | 0.024795
2282.5 | 0.019035
2283 | -0.004229
2283.5 | -0.0024893
2284 | -0.013885
2284.5 | -0.015071
2285 | -0.019974
2285.5 | -0.012534
2286 | -0.025702
2286.5 | -0.017745
2287 | -0.019939
2287.5 | -0.017469
2288 | -0.002121
2288.5 | 0.033043
2289 | 0.036167
2289.5 | 0.02944
2290 | 0.029664
2290.5 | 0.038379
2291 | 0.03868
2291.5 | 0.034672
2292 | 0.062892
2292.5 | 0.038163
2293 | 0.024046
2293.5 | 0.023396
2294 | 0.022272
2294.5 | 0.025163
2295 | 0.031285
2295.5 | 0.039209
2296 | 0.038925
2296.5 | 0.029533
2297 | 0.047187
2297.5 | 0.042268
2298 | 0.038205
2298.5 | 0.042473
2299 | 0.030746
2299.5 | 0.026583
2300 | 0.0263
2300.5 | 0.041399
2301 | 0.035688
2301.5 | 0.017961
2302 | 0.0011709
2302.5 | -0.0034206
2303 | 0.0010836
2303.5 | -0.0013112
2304 | -0.0048354
2304.5 | -0.0048936
2305 | -0.0078741
2305.5 | -0.0099153
2306 | 0.014832
2306.5 | 0.038224
2307 | 0.043915
2307.5 | 0.057711
2308 | 0.069311
2308.5 | 0.084976
2309 | 0.084636
2309.5 | 0.06421
2310 | 0.093383
2310.5 | 0.08542
2311 | 0.069711
2311.5 | 0.06885
2312 | 0.071841
2312.5 | 0.069035
2313 | 0.073453
2313.5 | 0.072557
2314 | 0.079587
2314.5 | 0.0826
2315 | 0.076414
2315.5 | 0.089578
2316 | 0.078068
2316.5 | 0.060419
2317 | 0.050359
2317.5 | 0.032322
2318 | 0.016996
2318.5 | 0.036493
2319 | 0.008605
2319.5 | 0.012826
2320 | 0.010772
2320.5 | 0.027906
2321 | 0.032706
2321.5 | 0.050588
2322 | 0.039733
2322.5 | 0.040638
2323 | 0.030536
2323.5 | 0.031747
2324 | 0.040635
2324.5 | 0.032667
2325 | 0.032083
2325.5 | 0.032202
2326 | 0.037356
2326.5 | 0.043317
2327 | 0.047093
2327.5 | 0.05412
2328 | 0.057123
2328.5 | 0.058728
2329 | 0.05384
2329.5 | 0.050466
2330 | 0.036015
2330.5 | 0.035257
2331 | 0.048594
2331.5 | 0.049701
2332 | 0.033411
2332.5 | 0.043815
2333 | 0.047247
2333.5 | 0.054385
2334 | 0.054714
2334.5 | 0.070544
2335 | 0.053397
2335.5 | 0.062415
2336 | 0.04392
2336.5 | 0.048722
2337 | 0.036666
2337.5 | 0.0099314
2338 | 0.015869
2338.5 | 0.013961
2339 | 0.01173
2339.5 | 0.018539
2340 | 0.0012167
2340.5 | 0.035084
2341 | 0.035851
2341.5 | 0.038112
2342 | 0.052154
2342.5 | 0.053131
2343 | 0.048557
2343.5 | 0.04422
2344 | 0.040699
2344.5 | 0.047512
2345 | 0.028047
2345.5 | 0.013467
2346 | 0.017091
2346.5 | 0.009777
2347 | 0.0096766
2347.5 | 0.020272
2348 | 0.0074071
2348.5 | 0.0085764
2349 | 0.020797
2349.5 | 0.025523
2350 | 0.036059
2350.5 | 0.027782
2351 | 0.025419
2351.5 | 0.017813
2352 | 0.0093289
2352.5 | 0.028334
2353 | 0.033837
2353.5 | 0.0023483
2354 | -0.001447
2354.5 | -0.0061004
2355 | -0.0078491
2355.5 | 0.0070501
2356 | 0.023143
2356.5 | 0.030712
2357 | 0.02685
2357.5 | 0.02993
2358 | 0.054108
2358.5 | 0.048031
2359 | 0.068641
2359.5 | 0.068945
2360 | 0.061538
2360.5 | 0.064163
2361 | 0.053241
2361.5 | 0.040088
2362 | 0.024278
2362.5 | 0.0075963
2363 | 0.0060842
2363.5 | -0.019182
2364 | -0.017438
2364.5 | -0.018092
2365 | -0.026419
2365.5 | -0.03667
2366 | -0.036831
2366.5 | -0.028114
2367 | -0.026474
2367.5 | -0.0050876
2368 | 0.0076031
2368.5 | 0.0046839
2369 | 0.0014442
2369.5 | -0.0069184
2370 | 0.003972
2370.5 | 0.02118
2371 | 0.01201
2371.5 | 0.016323
2372 | 0.0065281
2372.5 | -0.0078934
2373 | -0.0088214
2373.5 | -0.0054271
2374 | 0.0059089
2374.5 | 0.0034446
2375 | 0.0059564
2375.5 | 0.017167
2376 | 0.022276
2376.5 | 0.028762
2377 | 0.046281
2377.5 | 0.050758
2378 | 0.064624
2378.5 | 0.058726
2379 | 0.054781
2379.5 | 0.049572
2380 | 0.036736
2380.5 | 0.024806
2381 | 0.030054
2381.5 | 0.023038
2382 | 0.036098
2382.5 | 0.026148
2383 | 0.013709
2383.5 | 0.023632
2384 | 0.016284
2384.5 | 0.030375
2385 | 0.046673
2385.5 | 0.029738
2386 | 0.041266
2386.5 | 0.03257
2387 | 0.026488
2387.5 | 0.042758
2388 | 0.043965
2388.5 | 0.040437
2389 | 0.037141
2389.5 | 0.036048
2390 | 0.028496
2390.5 | 0.015446
2391 | 0.019126
2391.5 | 0.025568
2392 | 0.020481
2392.5 | 0.027653
2393 | 0.038075
2393.5 | 0.025706
2394 | 0.018253
2394.5 | 0.025661
2395 | 0.020937
2395.5 | 0.022334
2396 | 0.014674
2396.5 | 0.017894
2397 | 0.014116
2397.5 | 0.0090505
2398 | 0.020709
2398.5 | 0.010738
2399 | 0.018584
2399.5 | 0.034391
2400 | 0.022682
2400.5 | 0.015451
2401 | 0.011499
2401.5 | 0.010364
2402 | 0.014443
2402.5 | 0.015555
2403 | 0.030738
2403.5 | 0.029025
2404 | 0.023912
2404.5 | 0.02314
2405 | 0.04061
2405.5 | 0.038608
2406 | 0.030784
2406.5 | 0.041503
2407 | 0.038831
2407.5 | 0.031133
2408 | 0.037242
2408.5 | 0.04261
2409 | 0.058637
2409.5 | 0.059346
2410 | 0.049124
2410.5 | 0.054404
2411 | 0.044933
2411.5 | 0.049913
2412 | 0.056329
2412.5 | 0.043401
2413 | 0.035846
2413.5 | 0.030041
2414 | 0.023779
2414.5 | 0.038955
2415 | 0.03473
2415.5 | 0.030717
2416 | 0.034812
2416.5 | 0.018563
2417 | 0.032365
2417.5 | 0.049951
2418 | 0.03609
2418.5 | 0.03526
2419 | 0.023997
2419.5 | 0.037376
2420 | 0.027391
2420.5 | 0.028605
2421 | 0.040598
2421.5 | 0.02801
2422 | 0.018091
2422.5 | 0.03727
2423 | 0.041747
2423.5 | 0.034657
2424 | 0.017462
2424.5 | 0.035557
2425 | 0.036257
2425.5 | 0.03441
2426 | 0.026559
2426.5 | 0.024346
2427 | 0.031055
2427.5 | 0.023925
2428 | 0.056474
2428.5 | 0.069286
2429 | 0.061835
2429.5 | 0.053113
2430 | 0.03821
2430.5 | 0.064383
2431 | 0.06188
2431.5 | 0.05859
2432 | 0.06177
2432.5 | 0.052692
2433 | 0.035086
2433.5 | 0.027699
2434 | 0.015797
2434.5 | 0.025427
2435 | 0.0080197
2435.5 | -0.00080459
2436 | -0.002798
2436.5 | -0.015347
2437 | -0.021607
2437.5 | -0.010685
2438 | -0.00033926
2438.5 | 0.0036248
2439 | 0.0027781
2439.5 | 0.0018436
2440 | -0.00042801
2440.5 | -0.0045739
2441 | 0.0030585
2441.5 | 0.022217
2442 | 0.028422
2442.5 | 0.0271
2443 | 0.02547
2443.5 | 0.034692
2444 | 0.041243
2444.5 | 0.058062
2445 | 0.053928
2445.5 | 0.068132
2446 | 0.056985
2446.5 | 0.05627
2447 | 0.047301
2447.5 | 0.056139
2448 | 0.065553
2448.5 | 0.078064
2449 | 0.076808
2449.5 | 0.078203
2450 | 0.069093
2450.5 | 0.053063
2451 | 0.046754
2451.5 | 0.063699
2452 | 0.06124
2452.5 | 0.059256
2453 | 0.043405
2453.5 | 0.048297
2454 | 0.057646
2454.5 | 0.06112
2455 | 0.070829
2455.5 | 0.07137
2456 | 0.057726
2456.5 | 0.056959
2457 | 0.065917
2457.5 | 0.068804
2458 | 0.069772
2458.5 | 0.061732
2459 | 0.070711
2459.5 | 0.074006
2460 | 0.075777
2460.5 | 0.08445
2461 | 0.090591
2461.5 | 0.072072
2462 | 0.075587
2462.5 | 0.055319
2463 | 0.039886
2463.5 | 0.03042
2464 | 0.032588
2464.5 | 0.036446
2465 | 0.02907
2465.5 | 0.024896
2466 | 0.020066
2466.5 | 0.03054
2467 | 0.045866
2467.5 | 0.058294
2468 | 0.068337
2468.5 | 0.052998
2469 | 0.041594
2469.5 | 0.05191
2470 | 0.054061
2470.5 | 0.054637
2471 | 0.04352
2471.5 | 0.035912
2472 | 0.012104
2472.5 | 0.0080278
2473 | 0.001645
2473.5 | -0.005458
2474 | -0.013397
2474.5 | -0.016692
2475 | -0.0086292
2475.5 | -0.0059017
2476 | -0.0079792
2476.5 | 0.025816
2477 | 0.014075
2477.5 | 0.034711
2478 | 0.054151
2478.5 | 0.049513
2479 | 0.054494
2479.5 | 0.044656
2480 | 0.032595
2480.5 | 0.054599
2481 | 0.039532
2481.5 | 0.052556
2482 | 0.043938
2482.5 | 0.048741
2483 | 0.055668
2483.5 | 0.054459
2484 | 0.069493
2484.5 | 0.078466
2485 | 0.056166
2485.5 | 0.05615
2486 | 0.050053
2486.5 | 0.049926
2487 | 0.039428
2487.5 | 0.049579
2488 | 0.055779
2488.5 | 0.046129
2489 | 0.035893
2489.5 | 0.038954
2490 | 0.035103
2490.5 | 0.031548
2491 | 0.026582
2491.5 | 0.025232
2492 | -0.002888
2492.5 | 0.0024389
2493 | 0.0036017
2493.5 | 0.020603
2494 | 0.026453
2494.5 | 0.035933
2495 | 0.044981
2495.5 | 0.047553
2496 | 0.051054
2496.5 | 0.069253
2497 | 0.045576
2497.5 | 0.054586
2498 | 0.055115
2498.5 | 0.06153
2499 | 0.070036
2499.5 | 0.073963
2500 | 0.088426