## Absorption CS's
Yb:LuAG Absorption Coefficient as a Function of Wavelength For 3 Temperatures
2015
C. Moore, D. Brown
Instrument: Shimadzu SolidSpec-3700 DUV High-Resolution Spectrophotometer
Crystal Source: Clemson University Hydrothermally-Grown Sample: SCL # 78, CU #1673
Sellmeier Equation: Y. Kuwano, K. Suda, N. Ishizawa, and T. Yamada, “Crystal growth and properties of (Lu,Y)3Al5O12”, J. of Crys. Growth 260, 159-165 (2004)
Crystal Doping: 3.5 at-% Yb = Total Number Density of 4.95 x 1020 ions/cm3
Sample Length: 0.68 mm
Slit Width: 0.5 nm
Sampling Interval: 0.1 nm
Scan Speed: 1.67 nm/sec
Wavelength (nm) | Absorption Cross Section 175K (cm2) (x 1020)
900 | 0.0076097
900.1 | 0.011443
900.2 | 0.024839
900.3 | 0.014989
900.4 | 0.019702
900.5 | 0.021744
900.6 | 0.019702
900.7 | 0.078894
900.8 | 0.046002
900.9 | 0.014935
901 | 0.013676
901.1 | 0.018832
901.2 | 0.016376
901.3 | 0.039944
901.4 | 0.013174
901.5 | 0.015032
901.6 | 0.010477
901.7 | 0.020046
901.8 | 0.011402
901.9 | 0.013196
902 | 0.0027555
902.1 | 0.0076711
902.2 | 0.0048375
902.3 | 0.0033129
902.4 | 0.0012972
902.5 | 0.0016692
902.6 | 0.0011622
902.7 | 0.0010085
902.8 | 0.00032992
902.9 | 0.0047415
903 | 0.010765
903.1 | 0.01894
903.2 | 0.073372
903.3 | 0.017605
903.4 | 0.015197
903.5 | 0.011622
903.6 | 0.013413
903.7 | 0.018574
903.8 | 0.026601
903.9 | 0.03442
904 | 0.017922
904.1 | 0.009185
904.2 | 0.0083226
904.3 | 0.0081908
904.4 | 0.0086242
904.5 | 0.00102
904.6 | 0.0074252
904.7 | 0.0091981
904.8 | 0.014466
904.9 | 0.029164
905 | 0.027704
905.1 | 0.026609
905.2 | 0.024865
905.3 | 0.027757
905.4 | 0.034375
905.5 | 0.022714
905.6 | 0.018585
905.7 | 0.014343
905.8 | 0.023825
905.9 | 0.0419
906 | 0.082405
906.1 | 0.018675
906.2 | 0.014963
906.3 | 0.015547
906.4 | 0.024342
906.5 | 0.014098
906.6 | 0.023738
906.7 | 0.029189
906.8 | 0.085373
906.9 | 0.035473
907 | 0.019924
907.1 | 0.017678
907.2 | 0.0079898
907.3 | 0.013101
907.4 | 0.0081806
907.5 | 0.013722
907.6 | 0.015519
907.7 | 0.01854
907.8 | 0.0095185
907.9 | 0.0094407
908 | 0.0070774
908.1 | 0.0075539
908.2 | 0.011947
908.3 | 0.046311
908.4 | 0.0075539
908.5 | 0.053752
908.6 | 0.050546
908.7 | 0.0075539
908.8 | 0.0075539
908.9 | 0.0075539
909 | 0.045904
909.1 | 0.016885
909.2 | 0.014319
909.3 | 0.0099669
909.4 | 0.0099529
909.5 | 0.019751
909.6 | 0.025272
909.7 | 0.028403
909.8 | 0.016141
909.9 | 0.013935
910 | 0.014966
910.1 | 0.0022925
910.2 | 0.00038182
910.3 | 0.044433
910.4 | 0.061831
910.5 | 0.062793
910.6 | 0.071506
910.7 | 0.074243
910.8 | 0.083119
910.9 | 0.083441
911 | 0.083069
911.1 | 0.075977
911.2 | 0.076009
911.3 | 0.090346
911.4 | 0.10999
911.5 | 0.11945
911.6 | 0.13067
911.7 | 0.15038
911.8 | 0.16723
911.9 | 0.1761
912 | 0.18466
912.1 | 0.20154
912.2 | 0.21753
912.3 | 0.22616
912.4 | 0.2384
912.5 | 0.25367
912.6 | 0.2757
912.7 | 0.28815
912.8 | 0.30688
912.9 | 0.32322
913 | 0.33918
913.1 | 0.35446
913.2 | 0.37156
913.3 | 0.38871
913.4 | 0.39733
913.5 | 0.41403
913.6 | 0.42575
913.7 | 0.44602
913.8 | 0.45674
913.9 | 0.46823
914 | 0.47809
914.1 | 0.4858
914.2 | 0.48603
914.3 | 0.48788
914.4 | 0.49394
914.5 | 0.50263
914.6 | 0.50963
914.7 | 0.51682
914.8 | 0.52952
914.9 | 0.54388
915 | 0.55925
915.1 | 0.58324
915.2 | 0.61273
915.3 | 0.64539
915.4 | 0.66782
915.5 | 0.69346
915.6 | 0.72398
915.7 | 0.75532
915.8 | 0.78717
915.9 | 0.81224
916 | 0.84759
916.1 | 0.87356
916.2 | 0.9022
916.3 | 0.93125
916.4 | 0.95937
916.5 | 0.98452
916.6 | 0.99438
916.7 | 1.0041
916.8 | 0.99915
916.9 | 0.98933
917 | 0.97279
917.1 | 0.95148
917.2 | 0.92231
917.3 | 0.88532
917.4 | 0.85581
917.5 | 0.83031
917.6 | 0.79482
917.7 | 0.76081
917.8 | 0.72138
917.9 | 0.69265
918 | 0.66476
918.1 | 0.64165
918.2 | 0.62749
918.3 | 0.61308
918.4 | 0.60507
918.5 | 0.60239
918.6 | 0.60241
918.7 | 0.60932
918.8 | 0.61893
918.9 | 0.63951
919 | 0.65578
919.1 | 0.67354
919.2 | 0.69237
919.3 | 0.70901
919.4 | 0.71395
919.5 | 0.71705
919.6 | 0.72019
919.7 | 0.71736
919.8 | 0.71308
919.9 | 0.707
920 | 0.70667
920.1 | 0.68855
920.2 | 0.67286
920.3 | 0.64875
920.4 | 0.63379
920.5 | 0.59715
920.6 | 0.56479
920.7 | 0.52173
920.8 | 0.49161
920.9 | 0.46423
921 | 0.44628
921.1 | 0.43447
921.2 | 0.42536
921.3 | 0.41906
921.4 | 0.4186
921.5 | 0.42115
921.6 | 0.42566
921.7 | 0.43012
921.8 | 0.43929
921.9 | 0.45052
922 | 0.45776
922.1 | 0.45982
922.2 | 0.46249
922.3 | 0.47209
922.4 | 0.478
922.5 | 0.47883
922.6 | 0.47347
922.7 | 0.47665
922.8 | 0.47314
922.9 | 0.47428
923 | 0.47278
923.1 | 0.48106
923.2 | 0.48328
923.3 | 0.48696
923.4 | 0.49229
923.5 | 0.50124
923.6 | 0.50794
923.7 | 0.52062
923.8 | 0.53477
923.9 | 0.54934
924 | 0.55924
924.1 | 0.56841
924.2 | 0.58408
924.3 | 0.60339
924.4 | 0.63474
924.5 | 0.66016
924.6 | 0.69434
924.7 | 0.72025
924.8 | 0.74766
924.9 | 0.76685
925 | 0.79048
925.1 | 0.80831
925.2 | 0.82561
925.3 | 0.83316
925.4 | 0.83525
925.5 | 0.83848
925.6 | 0.84027
925.7 | 0.84507
925.8 | 0.84256
925.9 | 0.83744
926 | 0.83059
926.1 | 0.81855
926.2 | 0.80913
926.3 | 0.79954
926.4 | 0.7922
926.5 | 0.78373
926.6 | 0.77291
926.7 | 0.76153
926.8 | 0.74898
926.9 | 0.73651
927 | 0.73095
927.1 | 0.72602
927.2 | 0.72134
927.3 | 0.7192
927.4 | 0.71794
927.5 | 0.72233
927.6 | 0.72845
927.7 | 0.73827
927.8 | 0.7427
927.9 | 0.7518
928 | 0.75901
928.1 | 0.77211
928.2 | 0.77869
928.3 | 0.78977
928.4 | 0.79729
928.5 | 0.8078
928.6 | 0.81825
928.7 | 0.82618
928.8 | 0.8381
928.9 | 0.84712
929 | 0.86308
929.1 | 0.8718
929.2 | 0.88627
929.3 | 0.8922
929.4 | 0.8991
929.5 | 0.90059
929.6 | 0.90964
929.7 | 0.91763
929.8 | 0.92594
929.9 | 0.93161
930 | 0.9353
930.1 | 0.94156
930.2 | 0.94149
930.3 | 0.94246
930.4 | 0.94234
930.5 | 0.9424
930.6 | 0.93873
930.7 | 0.93073
930.8 | 0.91832
930.9 | 0.90053
931 | 0.88432
931.1 | 0.86657
931.2 | 0.85561
931.3 | 0.83433
931.4 | 0.81632
931.5 | 0.79608
931.6 | 0.7852
931.7 | 0.77464
931.8 | 0.76535
931.9 | 0.75918
932 | 0.75497
932.1 | 0.75209
932.2 | 0.74531
932.3 | 0.74359
932.4 | 0.74087
932.5 | 0.73696
932.6 | 0.72849
932.7 | 0.72314
932.8 | 0.72188
932.9 | 0.72053
933 | 0.72542
933.1 | 0.72918
933.2 | 0.74063
933.3 | 0.74757
933.4 | 0.75635
933.5 | 0.76617
933.6 | 0.7741
933.7 | 0.7849
933.8 | 0.7943
933.9 | 0.80848
934 | 0.82377
934.1 | 0.84166
934.2 | 0.85396
934.3 | 0.87383
934.4 | 0.89602
934.5 | 0.92411
934.6 | 0.94579
934.7 | 0.96804
934.8 | 0.99301
934.9 | 1.0134
935 | 1.0329
935.1 | 1.0494
935.2 | 1.0625
935.3 | 1.0702
935.4 | 1.0744
935.5 | 1.0765
935.6 | 1.0773
935.7 | 1.0762
935.8 | 1.0835
935.9 | 1.0949
936 | 1.1133
936.1 | 1.1299
936.2 | 1.1529
936.3 | 1.1719
936.4 | 1.1945
936.5 | 1.2099
936.6 | 1.2259
936.7 | 1.2343
936.8 | 1.2466
936.9 | 1.2549
937 | 1.2627
937.1 | 1.2625
937.2 | 1.2595
937.3 | 1.248
937.4 | 1.2292
937.5 | 1.2043
937.6 | 1.1752
937.7 | 1.1403
937.8 | 1.1067
937.9 | 1.0755
938 | 1.0496
938.1 | 1.0201
938.2 | 0.99212
938.3 | 0.9676
938.4 | 0.94594
938.5 | 0.92802
938.6 | 0.91468
938.7 | 0.90823
938.8 | 0.90402
938.9 | 0.90251
939 | 0.90517
939.1 | 0.91112
939.2 | 0.91943
939.3 | 0.92973
939.4 | 0.9461
939.5 | 0.96803
939.6 | 0.99522
939.7 | 1.0178
939.8 | 1.0412
939.9 | 1.0696
940 | 1.1057
940.1 | 1.1416
940.2 | 1.1708
940.3 | 1.2071
940.4 | 1.2444
940.5 | 1.278
940.6 | 1.2985
940.7 | 1.316
940.8 | 1.3309
940.9 | 1.3395
941 | 1.3379
941.1 | 1.3327
941.2 | 1.3258
941.3 | 1.3139
941.4 | 1.2964
941.5 | 1.2723
941.6 | 1.2454
941.7 | 1.2181
941.8 | 1.1942
941.9 | 1.1719
942 | 1.143
942.1 | 1.1113
942.2 | 1.0739
942.3 | 1.0395
942.4 | 0.99669
942.5 | 0.95443
942.6 | 0.90432
942.7 | 0.86537
942.8 | 0.82609
942.9 | 0.78965
943 | 0.75137
943.1 | 0.71977
943.2 | 0.69254
943.3 | 0.66493
943.4 | 0.63782
943.5 | 0.61723
943.6 | 0.59942
943.7 | 0.57815
943.8 | 0.55765
943.9 | 0.5396
944 | 0.52546
944.1 | 0.51262
944.2 | 0.49927
944.3 | 0.48556
944.4 | 0.47017
944.5 | 0.45734
944.6 | 0.44364
944.7 | 0.43176
944.8 | 0.41912
944.9 | 0.40816
945 | 0.39909
945.1 | 0.3925
945.2 | 0.38627
945.3 | 0.38472
945.4 | 0.38058
945.5 | 0.37728
945.6 | 0.36698
945.7 | 0.35849
945.8 | 0.34752
945.9 | 0.33757
946 | 0.32585
946.1 | 0.3179
946.2 | 0.31079
946.3 | 0.30381
946.4 | 0.29729
946.5 | 0.28938
946.6 | 0.28596
946.7 | 0.27971
946.8 | 0.27573
946.9 | 0.27293
947 | 0.27378
947.1 | 0.27061
947.2 | 0.266
947.3 | 0.2587
947.4 | 0.25274
947.5 | 0.24305
947.6 | 0.2324
947.7 | 0.22453
947.8 | 0.21963
947.9 | 0.21371
948 | 0.20632
948.1 | 0.19582
948.2 | 0.18755
948.3 | 0.17553
948.4 | 0.16253
948.5 | 0.15053
948.6 | 0.14004
948.7 | 0.12706
948.8 | 0.1169
948.9 | 0.10536
949 | 0.10376
949.1 | 0.10018
949.2 | 0.096069
949.3 | 0.092227
949.4 | 0.095296
949.5 | 0.11249
949.6 | 0.12702
949.7 | 0.1435
949.8 | 0.16528
949.9 | 0.18124
950 | 0.19232
950.1 | 0.19776
950.2 | 0.20617
950.3 | 0.21378
950.4 | 0.21988
950.5 | 0.21963
950.6 | 0.22373
950.7 | 0.22806
950.8 | 0.23669
950.9 | 0.22441
951 | 0.20724
951.1 | 0.19193
951.2 | 0.19939
951.3 | 0.20463
951.4 | 0.21166
951.5 | 0.20664
951.6 | 0.20168
951.7 | 0.20042
951.8 | 0.21022
951.9 | 0.21127
952 | 0.21271
952.1 | 0.21124
952.2 | 0.21976
952.3 | 0.22421
952.4 | 0.22573
952.5 | 0.23233
952.6 | 0.24019
952.7 | 0.24661
952.8 | 0.25861
952.9 | 0.26648
953 | 0.27609
953.1 | 0.26899
953.2 | 0.27125
953.3 | 0.26337
953.4 | 0.22501
953.5 | 0.19321
953.6 | 0.16896
953.7 | 0.16853
953.8 | 0.15623
953.9 | 0.14763
954 | 0.13728
954.1 | 0.13669
954.2 | 0.13406
954.3 | 0.13588
954.4 | 0.13232
954.5 | 0.14285
954.6 | 0.15021
954.7 | 0.17285
954.8 | 0.18313
954.9 | 0.1993
955 | 0.20942
955.1 | 0.22779
955.2 | 0.2404
955.3 | 0.25431
955.4 | 0.26205
955.5 | 0.26742
955.6 | 0.26547
955.7 | 0.25851
955.8 | 0.25498
955.9 | 0.25036
956 | 0.24408
956.1 | 0.23662
956.2 | 0.22497
956.3 | 0.21865
956.4 | 0.21089
956.5 | 0.20926
956.6 | 0.20769
956.7 | 0.20693
956.8 | 0.20246
956.9 | 0.20047
957 | 0.19783
957.1 | 0.19762
957.2 | 0.19336
957.3 | 0.18752
957.4 | 0.1828
957.5 | 0.1756
957.6 | 0.1712
957.7 | 0.16604
957.8 | 0.16516
957.9 | 0.16344
958 | 0.16363
958.1 | 0.16254
958.2 | 0.16749
958.3 | 0.16958
958.4 | 0.17455
958.5 | 0.17395
958.6 | 0.17505
958.7 | 0.1695
958.8 | 0.17127
958.9 | 0.16734
959 | 0.16726
959.1 | 0.16311
959.2 | 0.1631
959.3 | 0.16782
959.4 | 0.17319
959.5 | 0.18292
959.6 | 0.19124
959.7 | 0.20644
959.8 | 0.21504
959.9 | 0.2252
960 | 0.23007
960.1 | 0.23698
960.2 | 0.23974
960.3 | 0.23862
960.4 | 0.2364
960.5 | 0.23064
960.6 | 0.22517
960.7 | 0.2139
960.8 | 0.20361
960.9 | 0.19268
961 | 0.18543
961.1 | 0.18065
961.2 | 0.17352
961.3 | 0.16828
961.4 | 0.16092
961.5 | 0.15273
961.6 | 0.14368
961.7 | 0.12992
961.8 | 0.11508
961.9 | 0.099567
962 | 0.085018
962.1 | 0.068005
962.2 | 0.048316
962.3 | 0.030536
962.4 | 0.018844
962.5 | 0.0089071
962.6 | 0.00038222
962.7 | 0.012645
962.8 | 0.025305
962.9 | 0.0445
963 | 0.070611
963.1 | 0.11161
963.2 | 0.14045
963.3 | 0.18255
963.4 | 0.23789
963.5 | 0.28212
963.6 | 0.32562
963.7 | 0.30575
963.8 | 0.32472
963.9 | 0.27831
964 | 0.25308
964.1 | 0.2249
964.2 | 0.20091
964.3 | 0.19112
964.4 | 0.18237
964.5 | 0.18389
964.6 | 0.19435
964.7 | 0.23235
964.8 | 0.23659
964.9 | 0.20342
965 | 0.17413
965.1 | 0.1471
965.2 | 0.12461
965.3 | 0.096962
965.4 | 0.078027
965.5 | 0.053138
965.6 | 0.030291
965.7 | 0.015321
965.8 | 0.0080268
965.9 | 0.0013525
966 | 0.0083286
966.1 | 0.019556
966.2 | 0.028667
966.3 | 0.034761
966.4 | 0.041816
966.5 | 0.048939
966.6 | 0.057397
966.7 | 0.0631
966.8 | 0.069113
966.9 | 0.075819
967 | 0.082747
967.1 | 0.090694
967.2 | 0.10017
967.3 | 0.11287
967.4 | 0.12541
967.5 | 0.14233
967.6 | 0.15874
967.7 | 0.17892
967.8 | 0.20499
967.9 | 0.23748
968 | 0.27074
968.1 | 0.30905
968.2 | 0.36297
968.3 | 0.42541
968.4 | 0.50475
968.5 | 0.5877
968.6 | 0.70054
968.7 | 0.85729
968.8 | 1.0491
968.9 | 1.2269
969 | 1.4
969.1 | 1.5857
969.2 | 1.7699
969.3 | 1.926
969.4 | 2.0303
969.5 | 2.0922
969.6 | 2.0916
969.7 | 2.0039
969.8 | 1.8759
969.9 | 1.6934
970 | 1.4172
970.1 | 1.1345
970.2 | 0.87895
970.3 | 0.72315
970.4 | 0.56627
970.5 | 0.43661
970.6 | 0.33273
970.7 | 0.27096
970.8 | 0.22071
970.9 | 0.17948
971 | 0.14197
971.1 | 0.11706
971.2 | 0.10098
971.3 | 0.08707
971.4 | 0.074508
971.5 | 0.065925
971.6 | 0.059348
971.7 | 0.052575
971.8 | 0.046069
971.9 | 0.040813
972 | 0.037597
972.1 | 0.035342
972.2 | 0.033394
972.3 | 0.032261
972.4 | 0.031069
972.5 | 0.030243
972.6 | 0.02987
972.7 | 0.02868
972.8 | 0.026676
972.9 | 0.022496
973 | 0.016994
973.1 | 0.0095279
973.2 | 0.0022017
973.3 | 0.0017209
973.4 | 0.0028858
973.5 | 0.0052744
973.6 | 0.0087378
973.7 | 0.01298
973.8 | 0.016128
973.9 | 0.021726
974 | 0.029399
974.1 | 0.040835
974.2 | 0.045843
974.3 | 0.055227
974.4 | 0.059775
974.5 | 0.070903
974.6 | 0.079878
974.7 | 0.085242
974.8 | 0.085666
974.9 | 0.086033
975 | 0.10014
975.1 | 0.11207
975.2 | 0.13614
975.3 | 0.11083
975.4 | 0.092952
975.5 | 0.052041
975.6 | 0.022209
975.7 | 0.001307
975.8 | 0.0021622
975.9 | 0.00054658
976 | 0.011308
976.1 | 0.033499
976.2 | 0.049792
976.3 | 0.054664
976.4 | 0.059961
976.5 | 0.071941
976.6 | 0.077326
976.7 | 0.076941
976.8 | 0.075044
976.9 | 0.084874
977 | 0.094607
977.1 | 0.0074953
977.2 | 0.03035
977.3 | 0.044618
977.4 | 0.053459
977.5 | 0.059972
977.6 | 0.068941
977.7 | 0.067874
977.8 | 0.070874
977.9 | 0.06966
978 | 0.072297
978.1 | 0.073069
978.2 | 0.078217
978.3 | 0.077484
978.4 | 0.079738
978.5 | 0.077418
978.6 | 0.079883
978.7 | 0.079569
978.8 | 0.077123
978.9 | 0.073752
979 | 0.066913
979.1 | 0.064502
979.2 | 0.058339
979.3 | 0.052774
979.4 | 0.043959
979.5 | 0.03755
979.6 | 0.03314
979.7 | 0.028555
979.8 | 0.026933
979.9 | 0.02462
980 | 0.026378
980.1 | 0.03015
980.2 | 0.033893
980.3 | 0.034671
980.4 | 0.034391
980.5 | 0.034537
980.6 | 0.037279
980.7 | 0.036301
980.8 | 0.036568
980.9 | 0.037196
981 | 0.038409
981.1 | 0.037408
981.2 | 0.035622
981.3 | 0.034926
981.4 | 0.035082
981.5 | 0.035316
981.6 | 0.03723
981.7 | 0.038771
981.8 | 0.038846
981.9 | 0.038833
982 | 0.038938
982.1 | 0.038938
982.2 | 0.038457
982.3 | 0.04048
982.4 | 0.04236
982.5 | 0.043501
982.6 | 0.042497
982.7 | 0.043949
982.8 | 0.044708
982.9 | 0.044026
983 | 0.040193
983.1 | 0.038678
983.2 | 0.03748
983.3 | 0.03877
983.4 | 0.038297
983.5 | 0.039917
983.6 | 0.038643
983.7 | 0.036164
983.8 | 0.034076
983.9 | 0.03189
984 | 0.031716
984.1 | 0.029182
984.2 | 0.028521
984.3 | 0.026624
984.4 | 0.023187
984.5 | 0.01953
984.6 | 0.016985
984.7 | 0.014778
984.8 | 0.012252
984.9 | 0.0060514
985 | 0.0032652
985.1 | 0.0041053
985.2 | 0.0061918
985.3 | 0.010389
985.4 | 0.0055753
985.5 | 0.0091034
985.6 | 0.010389
985.7 | 0.017523
985.8 | 0.018212
985.9 | 0.018204
986 | 0.019931
986.1 | 0.024221
986.2 | 0.030754
986.3 | 0.02915
986.4 | 0.02963
986.5 | 0.023803
986.6 | 0.028169
986.7 | 0.025197
986.8 | 0.028729
986.9 | 0.02641
987 | 0.024874
987.1 | 0.019377
987.2 | 0.018646
987.3 | 0.020465
987.4 | 0.016003
987.5 | 0.012473
987.6 | 0.0057356
987.7 | 0.00032594
987.8 | 0.0015439
987.9 | 0.002259
988 | 0.0084358
988.1 | 0.0093005
988.2 | 0.0062108
988.3 | 0.0036085
988.4 | 0.0013197
988.5 | 0.0022445
988.6 | 0.006393
988.7 | 0.014741
988.8 | 0.02311
988.9 | 0.019412
989 | 0.014153
989.1 | 0.0089069
989.2 | 0.011869
989.3 | 0.014643
989.4 | 0.015552
989.5 | 0.015858
989.6 | 0.027708
989.7 | 0.056365
989.8 | 0.068568
989.9 | 0.062812
990 | 0.038908
990.1 | 0.061251
990.2 | 0.064123
990.3 | 0.052029
990.4 | 0.047983
990.5 | 0.05047
990.6 | 0.036524
990.7 | 0.021343
990.8 | 0.019998
990.9 | 0.020968
991 | 0.032259
991.1 | 0.052285
991.2 | 0.043931
991.3 | 0.040099
991.4 | 0.036309
991.5 | 0.042759
991.6 | 0.038813
991.7 | 0.037479
991.8 | 0.035515
991.9 | 0.042562
992 | 0.045781
992.1 | 0.047556
992.2 | 0.046248
992.3 | 0.046414
992.4 | 0.049279
992.5 | 0.050886
992.6 | 0.049342
992.7 | 0.043965
992.8 | 0.042328
992.9 | 0.040072
993 | 0.040735
993.1 | 0.037027
993.2 | 0.036181
993.3 | 0.033692
993.4 | 0.03263
993.5 | 0.031651
993.6 | 0.032739
993.7 | 0.034821
993.8 | 0.036917
993.9 | 0.038825
994 | 0.039994
994.1 | 0.041002
994.2 | 0.039363
994.3 | 0.038202
994.4 | 0.03427
994.5 | 0.031673
994.6 | 0.032318
994.7 | 0.032394
994.8 | 0.032403
994.9 | 0.02854
995 | 0.027854
995.1 | 0.029192
995.2 | 0.031551
995.3 | 0.03266
995.4 | 0.031724
995.5 | 0.032549
995.6 | 0.032826
995.7 | 0.033503
995.8 | 0.03144
995.9 | 0.029262
996 | 0.027601
996.1 | 0.027365
996.2 | 0.028209
996.3 | 0.026744
996.4 | 0.025846
996.5 | 0.025823
996.6 | 0.026541
996.7 | 0.026133
996.8 | 0.025972
996.9 | 0.025723
997 | 0.026573
997.1 | 0.026697
997.2 | 0.026917
997.3 | 0.02763
997.4 | 0.028391
997.5 | 0.029735
997.6 | 0.028952
997.7 | 0.028464
997.8 | 0.028225
997.9 | 0.02889
998 | 0.029307
998.1 | 0.030275
998.2 | 0.030561
998.3 | 0.030881
998.4 | 0.031361
998.5 | 0.03089
998.6 | 0.030715
998.7 | 0.029179
998.8 | 0.029094
998.9 | 0.029363
999 | 0.030516
999.1 | 0.030761
999.2 | 0.030916
999.3 | 0.030734
999.4 | 0.031373
999.5 | 0.031966
999.6 | 0.032744
999.7 | 0.032767
999.8 | 0.032084
999.9 | 0.032647
1000 | 0.033146
1000.1 | 0.034298
1000.2 | 0.0342
1000.3 | 0.034144
1000.4 | 0.033475
1000.5 | 0.03332
1000.6 | 0.033526
1000.7 | 0.032904
1000.8 | 0.032097
1000.9 | 0.030899
1001 | 0.031113
1001.1 | 0.031102
1001.2 | 0.030829
1001.3 | 0.029891
1001.4 | 0.02904
1001.5 | 0.028677
1001.6 | 0.028044
1001.7 | 0.027367
1001.8 | 0.02634
1001.9 | 0.026219
1002 | 0.025984
1002.1 | 0.025988
1002.2 | 0.025345
1002.3 | 0.025441
1002.4 | 0.025189
1002.5 | 0.025869
1002.6 | 0.025613
1002.7 | 0.025576
1002.8 | 0.025266
1002.9 | 0.025041
1003 | 0.024976
1003.1 | 0.024417
1003.2 | 0.025065
1003.3 | 0.025022
1003.4 | 0.025351
1003.5 | 0.025201
1003.6 | 0.025589
1003.7 | 0.02566
1003.8 | 0.02557
1003.9 | 0.025586
1004 | 0.025553
1004.1 | 0.025136
1004.2 | 0.025599
1004.3 | 0.026704
1004.4 | 0.026916
1004.5 | 0.026736
1004.6 | 0.02519
1004.7 | 0.024688
1004.8 | 0.025164
1004.9 | 0.026265
1005 | 0.027129
1005.1 | 0.026914
1005.2 | 0.026356
1005.3 | 0.026406
1005.4 | 0.025722
1005.5 | 0.025689
1005.6 | 0.026014
1005.7 | 0.026626
1005.8 | 0.026876
1005.9 | 0.02608
1006 | 0.025709
1006.1 | 0.02533
1006.2 | 0.025201
1006.3 | 0.024889
1006.4 | 0.025017
1006.5 | 0.024978
1006.6 | 0.025539
1006.7 | 0.026028
1006.8 | 0.02687
1006.9 | 0.027011
1007 | 0.027543
1007.1 | 0.027616
1007.2 | 0.028049
1007.3 | 0.028216
1007.4 | 0.028216
1007.5 | 0.027906
1007.6 | 0.027341
1007.7 | 0.027637
1007.8 | 0.028085
1007.9 | 0.027981
1008 | 0.027499
1008.1 | 0.026751
1008.2 | 0.026353
1008.3 | 0.025708
1008.4 | 0.024962
1008.5 | 0.024537
1008.6 | 0.02451
1008.7 | 0.024614
1008.8 | 0.023866
1008.9 | 0.023625
1009 | 0.023373
1009.1 | 0.023023
1009.2 | 0.021727
1009.3 | 0.020739
1009.4 | 0.020183
1009.5 | 0.020039
1009.6 | 0.019652
1009.7 | 0.019324
1009.8 | 0.019188
1009.9 | 0.018948
1010 | 0.0183
1010.1 | 0.017646
1010.2 | 0.017645
1010.3 | 0.017212
1010.4 | 0.016527
1010.5 | 0.015375
1010.6 | 0.014543
1010.7 | 0.014212
1010.8 | 0.013931
1010.9 | 0.013886
1011 | 0.013761
1011.1 | 0.013588
1011.2 | 0.013758
1011.3 | 0.013632
1011.4 | 0.013624
1011.5 | 0.013242
1011.6 | 0.013334
1011.7 | 0.013391
1011.8 | 0.013627
1011.9 | 0.013519
1012 | 0.013841
1012.1 | 0.013443
1012.2 | 0.013387
1012.3 | 0.013614
1012.4 | 0.013652
1012.5 | 0.013857
1012.6 | 0.013644
1012.7 | 0.013717
1012.8 | 0.013441
1012.9 | 0.013297
1013 | 0.013086
1013.1 | 0.013038
1013.2 | 0.012977
1013.3 | 0.012797
1013.4 | 0.012333
1013.5 | 0.012079
1013.6 | 0.011911
1013.7 | 0.011778
1013.8 | 0.011592
1013.9 | 0.011107
1014 | 0.011047
1014.1 | 0.010903
1014.2 | 0.011009
1014.3 | 0.010806
1014.4 | 0.010499
1014.5 | 0.010117
1014.6 | 0.0098529
1014.7 | 0.0096245
1014.8 | 0.0097611
1014.9 | 0.009643
1015 | 0.009354
1015.1 | 0.0089866
1015.2 | 0.0090464
1015.3 | 0.0090676
1015.4 | 0.009359
1015.5 | 0.0095543
1015.6 | 0.0094691
1015.7 | 0.0090059
1015.8 | 0.0085565
1015.9 | 0.0085406
1016 | 0.0081148
1016.1 | 0.0079368
1016.2 | 0.0085307
1016.3 | 0.0085451
1016.4 | 0.008539
1016.5 | 0.0090375
1016.6 | 0.0092343
1016.7 | 0.0092201
1016.8 | 0.0094442
1016.9 | 0.010004
1017 | 0.010268
1017.1 | 0.011127
1017.2 | 0.011802
1017.3 | 0.011915
1017.4 | 0.011345
1017.5 | 0.0106
1017.6 | 0.010124
1017.7 | 0.010804
1017.8 | 0.010832
1017.9 | 0.01146
1018 | 0.011034
1018.1 | 0.011311
1018.2 | 0.011381
1018.3 | 0.012292
1018.4 | 0.012036
1018.5 | 0.011691
1018.6 | 0.011559
1018.7 | 0.011699
1018.8 | 0.011549
1018.9 | 0.011397
1019 | 0.010938
1019.1 | 0.011062
1019.2 | 0.01118
1019.3 | 0.011372
1019.4 | 0.011314
1019.5 | 0.011147
1019.6 | 0.011428
1019.7 | 0.011718
1019.8 | 0.01208
1019.9 | 0.011804
1020 | 0.011993
1020.1 | 0.011783
1020.2 | 0.011742
1020.3 | 0.011516
1020.4 | 0.011642
1020.5 | 0.011831
1020.6 | 0.011908
1020.7 | 0.012353
1020.8 | 0.012512
1020.9 | 0.012897
1021 | 0.01253
1021.1 | 0.012251
1021.2 | 0.011779
1021.3 | 0.01173
1021.4 | 0.011338
1021.5 | 0.011241
1021.6 | 0.010991
1021.7 | 0.01187
1021.8 | 0.012113
1021.9 | 0.012813
1022 | 0.013009
1022.1 | 0.013275
1022.2 | 0.013172
1022.3 | 0.013319
1022.4 | 0.013588
1022.5 | 0.014031
1022.6 | 0.014456
1022.7 | 0.014638
1022.8 | 0.015242
1022.9 | 0.01528
1023 | 0.015536
1023.1 | 0.016284
1023.2 | 0.017287
1023.3 | 0.018795
1023.4 | 0.019337
1023.5 | 0.019864
1023.6 | 0.020049
1023.7 | 0.019944
1023.8 | 0.019671
1023.9 | 0.019811
1024 | 0.019335
1024.1 | 0.019782
1024.2 | 0.020312
1024.3 | 0.020811
1024.4 | 0.021417
1024.5 | 0.022198
1024.6 | 0.021681
1024.7 | 0.022211
1024.8 | 0.022772
1024.9 | 0.024293
1025 | 0.024621
1025.1 | 0.025487
1025.2 | 0.025154
1025.3 | 0.025886
1025.4 | 0.026206
1025.5 | 0.026664
1025.6 | 0.026442
1025.7 | 0.026963
1025.8 | 0.027139
1025.9 | 0.027679
1026 | 0.027827
1026.1 | 0.027884
1026.2 | 0.028026
1026.3 | 0.02925
1026.4 | 0.030636
1026.5 | 0.032232
1026.6 | 0.032601
1026.7 | 0.033284
1026.8 | 0.033773
1026.9 | 0.035027
1027 | 0.036732
1027.1 | 0.037639
1027.2 | 0.03811
1027.3 | 0.0383
1027.4 | 0.03924
1027.5 | 0.0399
1027.6 | 0.040192
1027.7 | 0.040466
1027.8 | 0.040863
1027.9 | 0.041705
1028 | 0.042304
1028.1 | 0.043749
1028.2 | 0.044688
1028.3 | 0.045612
1028.4 | 0.046109
1028.5 | 0.046227
1028.6 | 0.046415
1028.7 | 0.04679
1028.8 | 0.047303
1028.9 | 0.047556
1029 | 0.047379
1029.1 | 0.047231
1029.2 | 0.047352
1029.3 | 0.047652
1029.4 | 0.047777
1029.5 | 0.047949
1029.6 | 0.047994
1029.7 | 0.048863
1029.8 | 0.049405
1029.9 | 0.050373
1030 | 0.051308
1030.1 | 0.053096
1030.2 | 0.054763
1030.3 | 0.056238
1030.4 | 0.057195
1030.5 | 0.058195
1030.6 | 0.060157
1030.7 | 0.062244
1030.8 | 0.063939
1030.9 | 0.065248
1031 | 0.066456
1031.1 | 0.067251
1031.2 | 0.068024
1031.3 | 0.067707
1031.4 | 0.067349
1031.5 | 0.065627
1031.6 | 0.064308
1031.7 | 0.062297
1031.8 | 0.059489
1031.9 | 0.055939
1032 | 0.052976
1032.1 | 0.050116
1032.2 | 0.046611
1032.3 | 0.04326
1032.4 | 0.040648
1032.5 | 0.038633
1032.6 | 0.03606
1032.7 | 0.033849
1032.8 | 0.031858
1032.9 | 0.030236
1033 | 0.028842
1033.1 | 0.027789
1033.2 | 0.026695
1033.3 | 0.025538
1033.4 | 0.024322
1033.5 | 0.023281
1033.6 | 0.022522
1033.7 | 0.021884
1033.8 | 0.021553
1033.9 | 0.020901
1034 | 0.020356
1034.1 | 0.019811
1034.2 | 0.019006
1034.3 | 0.018342
1034.4 | 0.01808
1034.5 | 0.018045
1034.6 | 0.018185
1034.7 | 0.01799
1034.8 | 0.01807
1034.9 | 0.017914
1035 | 0.017845
1035.1 | 0.017486
1035.2 | 0.017408
1035.3 | 0.016685
1035.4 | 0.016057
1035.5 | 0.015541
1035.6 | 0.01536
1035.7 | 0.015166
1035.8 | 0.014938
1035.9 | 0.014792
1036 | 0.014808
1036.1 | 0.014704
1036.2 | 0.014475
1036.3 | 0.014131
1036.4 | 0.013818
1036.5 | 0.013577
1036.6 | 0.013495
1036.7 | 0.013301
1036.8 | 0.013227
1036.9 | 0.013297
1037 | 0.013599
1037.1 | 0.013833
1037.2 | 0.014069
1037.3 | 0.013968
1037.4 | 0.013973
1037.5 | 0.01383
1037.6 | 0.013749
1037.7 | 0.013803
1037.8 | 0.013571
1037.9 | 0.013667
1038 | 0.013369
1038.1 | 0.01336
1038.2 | 0.012852
1038.3 | 0.013121
1038.4 | 0.013235
1038.5 | 0.01346
1038.6 | 0.012776
1038.7 | 0.012049
1038.8 | 0.012006
1038.9 | 0.012366
1039 | 0.012616
1039.1 | 0.01288
1039.2 | 0.013031
1039.3 | 0.013398
1039.4 | 0.013084
1039.5 | 0.01276
1039.6 | 0.012043
1039.7 | 0.011805
1039.8 | 0.011939
1039.9 | 0.012545
1040 | 0.012754
1040.1 | 0.012094
1040.2 | 0.011153
1040.3 | 0.01101
1040.4 | 0.011268
1040.5 | 0.011602
1040.6 | 0.011361
1040.7 | 0.011194
1040.8 | 0.011057
1040.9 | 0.010942
1041 | 0.010776
1041.1 | 0.011128
1041.2 | 0.011231
1041.3 | 0.011388
1041.4 | 0.01106
1041.5 | 0.01099
1041.6 | 0.010665
1041.7 | 0.010456
1041.8 | 0.010582
1041.9 | 0.010996
1042 | 0.010721
1042.1 | 0.010375
1042.2 | 0.010069
1042.3 | 0.010124
1042.4 | 0.010029
1042.5 | 0.0094811
1042.6 | 0.0095111
1042.7 | 0.0093148
1042.8 | 0.0092772
1042.9 | 0.0090245
1043 | 0.0085042
1043.1 | 0.0082936
1043.2 | 0.0077322
1043.3 | 0.0077575
1043.4 | 0.0078491
1043.5 | 0.0082101
1043.6 | 0.0081709
1043.7 | 0.0084626
1043.8 | 0.0083766
1043.9 | 0.0086971
1044 | 0.0087082
1044.1 | 0.0089378
1044.2 | 0.0087492
1044.3 | 0.0088951
1044.4 | 0.0090283
1044.5 | 0.0094166
1044.6 | 0.0095901
1044.7 | 0.009342
1044.8 | 0.0094734
1044.9 | 0.009265
1045 | 0.0091981
1045.1 | 0.0088121
1045.2 | 0.0080688
1045.3 | 0.0078775
1045.4 | 0.0077388
1045.5 | 0.0082046
1045.6 | 0.0077897
1045.7 | 0.0079834
1045.8 | 0.0084721
1045.9 | 0.0086116
1046 | 0.0084116
1046.1 | 0.0079629
1046.2 | 0.0078984
1046.3 | 0.007519
1046.4 | 0.0074642
1046.5 | 0.0075176
1046.6 | 0.0081892
1046.7 | 0.0083625
1046.8 | 0.008477
1046.9 | 0.0083271
1047 | 0.0081312
1047.1 | 0.0082146
1047.2 | 0.0077483
1047.3 | 0.0074578
1047.4 | 0.0066027
1047.5 | 0.0064821
1047.6 | 0.0059944
1047.7 | 0.0065861
1047.8 | 0.0066523
1047.9 | 0.0070198
1048 | 0.0068193
1048.1 | 0.0067152
1048.2 | 0.0064972
1048.3 | 0.0062835
1048.4 | 0.0062901
1048.5 | 0.0063782
1048.6 | 0.0063535
1048.7 | 0.0058064
1048.8 | 0.0052321
1048.9 | 0.0047512
1049 | 0.0045859
1049.1 | 0.0041546
1049.2 | 0.0043312
1049.3 | 0.0041047
1049.4 | 0.0042422
1049.5 | 0.0040058
1049.6 | 0.0039202
1049.7 | 0.0038659
1049.8 | 0.0036589
1049.9 | 0.0036836
1050 | 0.0035508
1050.1 | 0.0031347
1050.2 | 0.0029761
1050.3 | 0.0031275
1050.4 | 0.003496
1050.5 | 0.003773
1050.6 | 0.0034872
1050.7 | 0.0039212
1050.8 | 0.0042344
1050.9 | 0.0049451
1051 | 0.0048011
1051.1 | 0.0046844
1051.2 | 0.0048047
1051.3 | 0.0049585
1051.4 | 0.0054673
1051.5 | 0.0057471
1051.6 | 0.005977
1051.7 | 0.0059892
1051.8 | 0.0059902
1051.9 | 0.0064159
1052 | 0.0061815
1052.1 | 0.0062548
1052.2 | 0.0059795
1052.3 | 0.0065191
1052.4 | 0.0066125
1052.5 | 0.0064813
1052.6 | 0.0060148
1052.7 | 0.0057193
1052.8 | 0.0059273
1052.9 | 0.0057781
1053 | 0.0059318
1053.1 | 0.0060229
1053.2 | 0.0064365
1053.3 | 0.0063565
1053.4 | 0.006094
1053.5 | 0.0058406
1053.6 | 0.0058337
1053.7 | 0.0059945
1053.8 | 0.0059516
1053.9 | 0.0060641
1054 | 0.0062978
1054.1 | 0.0068388
1054.2 | 0.0068724
1054.3 | 0.0062981
1054.4 | 0.0055113
1054.5 | 0.0050436
1054.6 | 0.0052468
1054.7 | 0.0052288
1054.8 | 0.0056789
1054.9 | 0.005925
1055 | 0.0062868
1055.1 | 0.0063197
1055.2 | 0.0063029
1055.3 | 0.0064645
1055.4 | 0.0065215
1055.5 | 0.0063116
1055.6 | 0.0058992
1055.7 | 0.0055175
1055.8 | 0.0054217
1055.9 | 0.0056707
1056 | 0.0059816
1056.1 | 0.0060709
1056.2 | 0.0060971
1056.3 | 0.0059888
1056.4 | 0.0062891
1056.5 | 0.0065838
1056.6 | 0.0065451
1056.7 | 0.006338
1056.8 | 0.0061059
1056.9 | 0.0062259
1057 | 0.0061273
1057.1 | 0.005693
1057.2 | 0.0055386
1057.3 | 0.0052888
1057.4 | 0.0051718
1057.5 | 0.0048824
1057.6 | 0.0047555
1057.7 | 0.0047624
1057.8 | 0.004619
1057.9 | 0.0049016
1058 | 0.0049122
1058.1 | 0.0049603
1058.2 | 0.0048691
1058.3 | 0.0050366
1058.4 | 0.0051328
1058.5 | 0.0049801
1058.6 | 0.0048985
1058.7 | 0.0050674
1058.8 | 0.005395
1058.9 | 0.0054588
1059 | 0.0054873
1059.1 | 0.0057012
1059.2 | 0.0058829
1059.3 | 0.0058328
1059.4 | 0.0057527
1059.5 | 0.0057844
1059.6 | 0.0056908
1059.7 | 0.005377
1059.8 | 0.0052032
1059.9 | 0.0052137
1060 | 0.0048722
1060.1 | 0.0045901
1060.2 | 0.0043304
1060.3 | 0.0043826
1060.4 | 0.0042292
1060.5 | 0.0042308
1060.6 | 0.0043165
1060.7 | 0.0045111
1060.8 | 0.0046987
1060.9 | 0.0047374
1061 | 0.0048826
1061.1 | 0.0049603
1061.2 | 0.005277
1061.3 | 0.0055511
1061.4 | 0.0059285
1061.5 | 0.0060313
1061.6 | 0.0061165
1061.7 | 0.0060204
1061.8 | 0.005944
1061.9 | 0.0057706
1062 | 0.0054464
1062.1 | 0.00499
1062.2 | 0.0047632
1062.3 | 0.0046354
1062.4 | 0.0046824
1062.5 | 0.0046786
1062.6 | 0.0046264
1062.7 | 0.0043718
1062.8 | 0.0041846
1062.9 | 0.0039191
1063 | 0.0037271
1063.1 | 0.0035608
1063.2 | 0.0035599
1063.3 | 0.003654
1063.4 | 0.0038005
1063.5 | 0.0039496
1063.6 | 0.0040628
1063.7 | 0.0040727
1063.8 | 0.0040207
1063.9 | 0.0038977
1064 | 0.003816
1064.1 | 0.0037006
1064.2 | 0.0035673
1064.3 | 0.0034709
1064.4 | 0.0034105
1064.5 | 0.0034909
1064.6 | 0.0035789
1064.7 | 0.0036504
1064.8 | 0.0035957
1064.9 | 0.0036312
1065 | 0.0035796
1065.1 | 0.0034957
1065.2 | 0.0033996
1065.3 | 0.0034475
1065.4 | 0.0034596
1065.5 | 0.0035042
1065.6 | 0.0034558
1065.7 | 0.0033418
1065.8 | 0.0032782
1065.9 | 0.0032058
1066 | 0.0034151
1066.1 | 0.0035122
1066.2 | 0.0037003
1066.3 | 0.0037198
1066.4 | 0.0037607
1066.5 | 0.0037338
1066.6 | 0.003716
1066.7 | 0.0035741
1066.8 | 0.0035051
1066.9 | 0.0034498
1067 | 0.0033698
1067.1 | 0.0032387
1067.2 | 0.0031227
1067.3 | 0.002986
1067.4 | 0.0030077
1067.5 | 0.0030594
1067.6 | 0.0030728
1067.7 | 0.0029698
1067.8 | 0.0029622
1067.9 | 0.0030705
1068 | 0.0030426
1068.1 | 0.0030607
1068.2 | 0.0032327
1068.3 | 0.0032863
1068.4 | 0.0033584
1068.5 | 0.0035789
1068.6 | 0.0037558
1068.7 | 0.0037499
1068.8 | 0.0037577
1068.9 | 0.0039367
1069 | 0.0039281
1069.1 | 0.0040034
1069.2 | 0.0041156
1069.3 | 0.0043214
1069.4 | 0.0045023
1069.5 | 0.0046306
1069.6 | 0.0048378
1069.7 | 0.0049353
1069.8 | 0.0049474
1069.9 | 0.0048421
1070 | 0.0049964
1070.1 | 0.0051057
1070.2 | 0.0051717
1070.3 | 0.0051639
1070.4 | 0.0052517
1070.5 | 0.0053194
1070.6 | 0.0051735
1070.7 | 0.0048631
1070.8 | 0.0046
1070.9 | 0.0043476
1071 | 0.0042845
1071.1 | 0.0043889
1071.2 | 0.0045617
1071.3 | 0.0046383
1071.4 | 0.0046629
1071.5 | 0.0047628
1071.6 | 0.0047994
1071.7 | 0.0050742
1071.8 | 0.0052228
1071.9 | 0.0053294
1072 | 0.0051705
1072.1 | 0.0049639
1072.2 | 0.004711
1072.3 | 0.0044353
1072.4 | 0.0043812
1072.5 | 0.0043948
1072.6 | 0.004489
1072.7 | 0.0046038
1072.8 | 0.0046223
1072.9 | 0.0047953
1073 | 0.0048239
1073.1 | 0.0046988
1073.2 | 0.0045567
1073.3 | 0.0044426
1073.4 | 0.0044701
1073.5 | 0.0044787
1073.6 | 0.0045419
1073.7 | 0.0045979
1073.8 | 0.0045524
1073.9 | 0.0045735
1074 | 0.0045545
1074.1 | 0.0046605
1074.2 | 0.0046842
1074.3 | 0.0046881
1074.4 | 0.0046987
1074.5 | 0.0047994
1074.6 | 0.0047802
1074.7 | 0.0048246
1074.8 | 0.004768
1074.9 | 0.0048233
1075 | 0.0047629
1075.1 | 0.0046617
1075.2 | 0.004547
1075.3 | 0.004418
1075.4 | 0.0042584
1075.5 | 0.0042687
1075.6 | 0.0041235
1075.7 | 0.004074
1075.8 | 0.0039302
1075.9 | 0.0039477
1076 | 0.0038031
1076.1 | 0.0036296
1076.2 | 0.0034911
1076.3 | 0.003369
1076.4 | 0.0032573
1076.5 | 0.0031665
1076.6 | 0.0031452
1076.7 | 0.0030198
1076.8 | 0.0029044
1076.9 | 0.0028633
1077 | 0.0029197
1077.1 | 0.0029833
1077.2 | 0.0030121
1077.3 | 0.0031451
1077.4 | 0.0032782
1077.5 | 0.0033486
1077.6 | 0.003394
1077.7 | 0.0035347
1077.8 | 0.0037251
1077.9 | 0.0037572
1078 | 0.0038533
1078.1 | 0.0038886
1078.2 | 0.0038652
1078.3 | 0.0037819
1078.4 | 0.003676
1078.5 | 0.0035695
1078.6 | 0.003487
1078.7 | 0.0036021
1078.8 | 0.0035665
1078.9 | 0.0037363
1079 | 0.003875
1079.1 | 0.0040145
1079.2 | 0.0041191
1079.3 | 0.0042389
1079.4 | 0.0042295
1079.5 | 0.0041744
1079.6 | 0.0040448
1079.7 | 0.0040255
1079.8 | 0.0038808
1079.9 | 0.0038368
1080 | 0.0037709
1080.1 | 0.003824
1080.2 | 0.0038067
1080.3 | 0.0038616
1080.4 | 0.003953
1080.5 | 0.0039683
1080.6 | 0.0040174
1080.7 | 0.0040357
1080.8 | 0.0040708
1080.9 | 0.0039299
1081 | 0.0038817
1081.1 | 0.0036475
1081.2 | 0.0036156
1081.3 | 0.0034093
1081.4 | 0.0031884
1081.5 | 0.0028946
1081.6 | 0.0025733
1081.7 | 0.0022755
1081.8 | 0.0019664
1081.9 | 0.0016293
1082 | 0.0013422
1082.1 | 0.0011542
1082.2 | 0.00098982
1082.3 | 0.00088146
1082.4 | 0.00089454
1082.5 | 0.0012
1082.6 | 0.0016188
1082.7 | 0.001863
1082.8 | 0.0019974
1082.9 | 0.0019438
1083 | 0.0018167
1083.1 | 0.0017141
1083.2 | 0.0018469
1083.3 | 0.0019377
1083.4 | 0.0020506
1083.5 | 0.0020231
1083.6 | 0.002153
1083.7 | 0.0021914
1083.8 | 0.0021758
1083.9 | 0.0022422
1084 | 0.0022561
1084.1 | 0.0022392
1084.2 | 0.0021224
1084.3 | 0.0021223
1084.4 | 0.0020297
1084.5 | 0.0017837
1084.6 | 0.001579
1084.7 | 0.0013834
1084.8 | 0.0013196
1084.9 | 0.0012596
1085 | 0.0012102
1085.1 | 0.0012117
1085.2 | 0.0011452
1085.3 | 0.0011637
1085.4 | 0.0011196
1085.5 | 0.0010959
1085.6 | 0.00097329
1085.7 | 0.00092715
1085.8 | 0.00091758
1085.9 | 0.0010227
1086 | 0.0010285
1086.1 | 0.0011127
1086.2 | 0.0010386
1086.3 | 0.00097348
1086.4 | 0.00087225
1086.5 | 0.00082817
1086.6 | 0.00076526
1086.7 | 0.00078584
1086.8 | 0.00085203
1086.9 | 0.00094875
1087 | 0.00094651
1087.1 | 0.0010027
1087.2 | 0.00095855
1087.3 | 0.00098117
1087.4 | 0.00091457
1087.5 | 0.00093408
1087.6 | 0.00081126
1087.7 | 0.00073171
1087.8 | 0.00055203
1087.9 | 0.00044819
1088 | 0.00039536
1088.1 | 0.00045239
1088.2 | 0.00046201
1088.3 | 0.00050774
1088.4 | 0.00047945
1088.5 | 0.00038861
1088.6 | 0.0002581
1088.7 | 0.00023314
1088.8 | 0.00022241
1088.9 | 0.00021985
1089 | 0.00025404
1089.1 | 0.00033419
1089.2 | 0.0004352
1089.3 | 0.00047104
1089.4 | 0.00056653
1089.5 | 0.00065914
1089.6 | 0.00073414
1089.7 | 0.00068871
1089.8 | 0.00075751
1089.9 | 0.00079333
1090 | 0.00089936
1090.1 | 0.00092127
1090.2 | 0.0010438
1090.3 | 0.00096147
1090.4 | 0.00095801
1090.5 | 0.00077988
1090.6 | 0.00067804
1090.7 | 0.00045356
1090.8 | 0.00040447
1090.9 | 0.00030309
1091 | 0.00041359
1091.1 | 0.00048237
1091.2 | 0.00077236
1091.3 | 0.00093349
1091.4 | 0.0011569
1091.5 | 0.0012658
1091.6 | 0.001456
1091.7 | 0.0014931
1091.8 | 0.0015574
1091.9 | 0.0015897
1092 | 0.0015723
1092.1 | 0.0015446
1092.2 | 0.0016307
1092.3 | 0.0016645
1092.4 | 0.0018054
1092.5 | 0.0019195
1092.6 | 0.0020472
1092.7 | 0.0021863
1092.8 | 0.0022896
1092.9 | 0.0021842
1093 | 0.002112
1093.1 | 0.0021596
1093.2 | 0.0022313
1093.3 | 0.0022615
1093.4 | 0.0022742
1093.5 | 0.0022594
1093.6 | 0.0022279
1093.7 | 0.0022483
1093.8 | 0.0022529
1093.9 | 0.0023264
1094 | 0.0023761
1094.1 | 0.0024561
1094.2 | 0.002353
1094.3 | 0.0022219
1094.4 | 0.0021056
1094.5 | 0.0020285
1094.6 | 0.0020647
1094.7 | 0.0020277
1094.8 | 0.0021047
1094.9 | 0.0020296
1095 | 0.0020855
1095.1 | 0.0018795
1095.2 | 0.0017857
1095.3 | 0.0015295
1095.4 | 0.001467
1095.5 | 0.0012946
1095.6 | 0.0012917
1095.7 | 0.0012371
1095.8 | 0.0013338
1095.9 | 0.0013192
1096 | 0.0013493
1096.1 | 0.001337
1096.2 | 0.0013576
1096.3 | 0.0013126
1096.4 | 0.0013609
1096.5 | 0.0013045
1096.6 | 0.0013286
1096.7 | 0.0013657
1096.8 | 0.0015452
1096.9 | 0.0015657
1097 | 0.0016958
1097.1 | 0.0016931
1097.2 | 0.0015968
1097.3 | 0.0013404
1097.4 | 0.0011935
1097.5 | 0.0011425
1097.6 | 0.0011856
1097.7 | 0.001104
1097.8 | 0.0011081
1097.9 | 0.00098319
1098 | 0.00092932
1098.1 | 0.00072725
1098.2 | 0.00071045
1098.3 | 0.00058382
1098.4 | 0.00062446
1098.5 | 0.00058025
1098.6 | 0.00068743
1098.7 | 0.00067988
1098.8 | 0.00076938
1098.9 | 0.00073275
1099 | 0.00074712
1099.1 | 0.00072494
1099.2 | 0.00069567
1099.3 | 0.00060227
1099.4 | 0.00067387
1099.5 | 0.00068973
1099.6 | 0.00067434
1099.7 | 0.00066886
1099.8 | 0.00070712
1099.9 | 0.00065473
1100 | 0.00063458